Technische Universität München

Department of Mechanical Engineering

Institute of Automation and Information Systems

Prof. Dr.-Ing. Birgit Vogel-Heuser

Bachelorarbeit

Automated Generation of Modular and Dynamic Industrial Process Plant Visualizations in a Manufacturing Execution System (MES)



|  |  |
| --- | --- |
| Author: | Miguel Romero Karam |
| Matriculation No.: | 03675217 |
| Advisor: | Dr.-Ing. Daniel Schütz |
| Supervisor: | Emanuel Trunzer, M.Sc. |
| Begin Date: | 15 April 2018 |
| Submission Date: | 15 Oktober 2018 |

Statutory Declaration

I hereby confirm to have written the present dissertation independently and only with the use of the sources and resources I have indicated. Both content and literal content were identified as such. The work has not been available in this or similar form to any other panel of examiners.



Date: Signature:

Abstract

…

Kurzzusammenfassung

…

Index

[Statutory Declaration III](#_Toc523666467)

[Abstract V](#_Toc523666468)

[Index VII](#_Toc523666469)

[1 Introduction 1](#_Toc523666470)

[1.1 Overview and Motivation 1](#_Toc523666471)

[1.2 Problem Definition 2](#_Toc523666472)

[1.3 Initial Situation 3](#_Toc523666473)

[1.4 Goals of the Bachelor Thesis 4](#_Toc523666474)

[1.5 Project Requirements 4](#_Toc523666475)

[1.6 Composition of the Bachelor Thesis 7](#_Toc523666476)

[1.6.1 Project Management 7](#_Toc523666477)

[1.6.2 Project Sprints 7](#_Toc523666478)

[2 Technological Standpoint 2](#_Toc523666479)

[2.1 Industrial Process Control 2](#_Toc523666480)

[2.1.1 Overview 2](#_Toc523666481)

[2.1.2 Plant Hierarchy, Procedural Control and Process Models 3](#_Toc523666482)

[2.1.3 Formalized Process Description 4](#_Toc523666483)

[2.1.4 Piping and Instrumentation Diagram (P&ID) 5](#_Toc523666484)

[2.2 Manufacturing Execution Systems 8](#_Toc523666485)

[2.2.1 Overview 8](#_Toc523666486)

[2.2.2 Functions 8](#_Toc523666487)

[2.2.3 Overview of Legato Sapient® 9](#_Toc523666488)

[2.3 Web Applications 11](#_Toc523666489)

[2.3.1 Overview 11](#_Toc523666490)

[2.3.2 List of Technologies 12](#_Toc523666491)

[2.4 Unified Modelling Language (UML) 15](#_Toc523666492)

[2.4.1 Class Diagram 16](#_Toc523666493)

[2.4.2 Object Diagram 17](#_Toc523666494)

[2.4.3 Entity Relationship Diagram 17](#_Toc523666495)

[2.4.4 Activity Diagram 17](#_Toc523666496)

[2.5 Graphing Algorithms 17](#_Toc523666497)

[2.5.1 Graph Theory 17](#_Toc523666498)

[2.5.2 Types of Graphs 19](#_Toc523666499)

[2.5.3 Graph Drawing in Software 20](#_Toc523666500)

[2.5.4 Graph Layout Algorithms 21](#_Toc523666501)

[2.5.5 Graphs and P&IDs 22](#_Toc523666502)

[2.6 Related Works 22](#_Toc523666503)

[2.6.1 Overview of Related Works 22](#_Toc523666504)

[2.6.2 Comparison of Related Works 23](#_Toc523666505)

[3 P&ID Shapes Library 25](#_Toc523666506)

[3.1 Introduction 25](#_Toc523666507)

[3.2 mxGraph API 25](#_Toc523666508)

[3.2.1 Geometrical Abstraction of Process Engineering Elements 26](#_Toc523666509)

[3.2.2 Creation of the Object-oriented Shapes Library 27](#_Toc523666510)

[3.2.3 Real-time Data Binding to Process Variables 30](#_Toc523666511)

[4 Legato Dashboard – P&ID Viewer 33](#_Toc523666512)

[4.1 Software Architecture 33](#_Toc523666513)

[4.1.1 Requirements 33](#_Toc523666514)

[4.1.2 Alignment to the System Architecture 33](#_Toc523666515)

[4.1.3 System Interactions 36](#_Toc523666516)

[4.2 Presentation Logic 37](#_Toc523666517)

[4.2.1 P&ID Creator Boardlet 37](#_Toc523666518)

[4.2.2 P&ID Viewer Dashboard 39](#_Toc523666519)

[4.3 Business Logic 39](#_Toc523666520)

[4.3.1 Introduction 39](#_Toc523666521)

[4.3.2 Database Queries 40](#_Toc523666522)

[4.3.3 Object Relational Data Mapping 40](#_Toc523666523)

[4.3.4 Graph Layout Algorithm 41](#_Toc523666524)

[SEE NEXT CHAPTER 41](#_Toc523666525)

[4.3.5 Generation of the XML File 41](#_Toc523666526)

[5 P&ID Graphing Algorithm 43](#_Toc523666527)

[5.1 Build Hierarchy 43](#_Toc523666528)

[5.2 Hierarchy Traversal 43](#_Toc523666529)

[5.3 Simplification of Edges 43](#_Toc523666530)

[5.4 Vertex Placement 43](#_Toc523666531)

[5.4.1 Simplifying connections in model 44](#_Toc523666532)

[6 Verification, Validation and Evaluation 48](#_Toc523666533)

[6.1 Definitions 48](#_Toc523666534)

[6.1.1 Verification 48](#_Toc523666535)

[6.1.2 Validation 48](#_Toc523666536)

[6.1.3 Evaluation 48](#_Toc523666537)

[6.2 Prototypical Implementation in an Industrial Context 48](#_Toc523666538)

[7 Synopsis L](#_Toc523666539)

[List of Figures LII](#_Toc523666540)

[List of Tables LIV](#_Toc523666541)

[Abbreviations 56](#_Toc523666542)

[8 Bibliography 58](#_Toc523666543)

1. Introduction
   1. Overview and Motivation

Software has become indispensable in modern industrial contexts, but the increasing complexity of the industrial contexts themselves makes its implementation in an efficient, economical and advantageous manner more challenging now than ever, (Evoke/incite/induce)

The development of control software and visualization interfaces for the operation of smaller process engineering systems is a major cost driver in process engineering automation projects. Additional to the high up-front implementation cost for the connection and configuration of a Manufacturing Execution System (MES), operational costs rise rapidly during the MES product life cycle; Creating and later modifying plant-specific visualization interfaces represents a significant technical effort, which translates to these continued increments in operational expenditure. The MES software architecture is often deeply intertwined; Adjustments in any area usually have consequences in others, even rather simple modifications can propagate and lead to important sources of errors, imposing constant software adjustments. A slight shop floor modification, be it a physical change in the plant like the disabling of a temperature sensor or a change to the order of production, might result in significant number of adjustments for the MES. Process visualizations in the Graphical User Interface (GUI) are similarly influenced; being virtual representations of the physical process facility, they demand frequent adjustments which result in significant overhead for its implementation.

The ProcAppCom (Process Application Composer) research project behind this bachelor thesis represents a cooperation between multiple industrial partners, namely 3S-Smart Software Solutions GmbH, Gefasoft GmbH, Johann Albrecht Brautechnik GmbH and APE Engineering GmbH with the Technical University of Munich. The main objective of the ProcAppCom research project is the automated configuration and generation of control code and visualizations for production plants in the field of process engineering.

Gefasoft GmbH is a leading and innovative provider of production-related software solutions. With the product Legato Sapient® Gefasoft offers a web-based MES for the distributed control of production. Main functions of a MES are production management, supervisory control, maintenance management and the real-time data acquisition, storage and integration to other information systems. These include Enterprise Resource Planning (ERP) and Supervisory control and data acquisition (SCADA) systems as well as programmable logic controllers (PLC). A MES therefore typically spans from the operational management level, where it is implemented, through the process management (SCADA) and the control levels (PLC), unto the field layer or shop floor. Key functionalities of a MES for the process engineering industry include the cross-plant evaluation of messages, alarms, process variables ​​and key figures.

Motivation of this bachelor thesis is the development of a system for the automated generation of dynamic Piping and Instrumentation Diagram (P&ID) visualizations for industrial plants with the goal of reducing implementation and operation expenditure for a MES, so that any enterprises can profit from these software solutions.

* 1. Problem Definition

The present trends in automation technology lead to a permanent increase in the complexity of industrial process facilities and to permanent technical changes. These changes propagate through the documentation, maintenance and operation of mentioned facilities, which represents a major engineering challenge. This leads to the need for the frequent and often manual reconfiguration and adjustment of such systems during its life cycle. Plant-specific visualizations in the graphical user interface (GUI) demand significant efforts for their creation and modification upon any technical change. As virtual representations of the process facility and with the imminent increase in changes, they are subject to constant manual updating. Moreover, this constant change leads to deviation from the industry standards for visualizations, like those for P&ID visualizations. As a result, different companies from different sectors end up each with different standards, which further increases the engineering complexity and results in counterproductive GUIs. For these reasons, production software requires adapting to these demanding trends in the process engineering industry. With respect to process visualizations in the process engineering industry, a system must be developed for the automated generation of modular and dynamic plant P&ID visualizations with minimal user configuration and integration to the MES software at hand.




Figure Software life cycles in comparison and the rise in its importance for present day industrial plants Source: Lehrstuhl AIS TUM

* 1. Initial Situation

The foundations of this project were already set by previous projects in the context of the ProcAppCom research project at Gefasoft. A general description model for process engineering plants was initially developed. Before the start of this project, it was also possible for plant models to be read and directly transcribed to database tables of the MES Legato Sapient®. This enables the automated connection of the MES to the plant’s control and field levels via the factory edge gateways. A system for the automated generation of P&ID visualizations for the user selected site, area, production unit, process cell or equipment module of the modelled process engineering plant is the culmination of this research project.

The Legato Graphic Designer boardlet of Legato Sapient® was developed for the dynamic rendering of visualizations in the form of a single, static xml file. In favor of preventing repetition and to seamlessly integrate to the Legato Sapient Environment, existing code should be leveraged as much as possible. The final product is a dashboard for the creation and rendering of the user selected process engineering plant instance.

<INSERT GLOBAL PROCAPPCOM PROJECT OVERVIEW WITH ZOOM IN TO BOARDLET >

* 1. Goals of the Bachelor Thesis

The goals of the bachelor thesis give an overview of what is ultimately intended. They enabled a plan to be defined initially in terms of the desired outcomes of the project. The specifics for the fulfillment of the goals came later with the definition of the technical and conceptual requirements. The following goals were set to define what was to be ultimately achieved by means of the developed solution:

* Reduce technical effort and accelerate the generation and modification of Piping and Instrumentation Diagram (P&ID) visualizations for industrial process plants.
* Normalization of the visualization components according to industrial standards and best practices for generation of consistent P&ID visualizations.
* Prototypal implementation of the software solution in the web-based MES Legato Sapient® in the form of a user-friendly GUI dashboard for the generation and viewing of P&ID visualizations with abstraction of configurations for the user.
* Verification, validation and evaluation of the solution for the implementation in an industrial grade manufacturing execution system.
  1. Project Requirements

Specific requirements where set apart from the project goals for the technical and conceptual aspects of the project. It was intended for all requirements to be met by the end of the project, but the development cycle brought slight variations to some during the course of the project. Technical requirements define the intended outcome of the practical implementation of the project at Gefasoft® Gmbh. Conceptual requirements define the core concepts which the proposed technical solution addresses and on which the functionality is based. Furthermore, the development of new methodologies to achieve the project goals outlined in section 1.4 represents the research part of the project.

R1: Library of modular P&ID Visualization Components According to Industry Standards

* Object-oriented abstraction of industrial process engineering elements into UML 2.0 classes based on their inherent geometrical and functional traits (class diagram).
* Conception of a library of modular and composable P&ID visualization components in SVG format according to the current industry standards.
* Static geometrical definition of visualization components in a P&ID shapes library implemented as a JSON file for efficiency, portability and ease of personalization and maintainability. Each shape corresponds to a JSON object with a defined set of properties with predefined values (defined by library version), or a default value if left blank.
* Shape instances inherit object properties from their parent P&ID class and category based on the data model defined as a UML 2.0 class diagram. This enables automatic propagation of inherited and composed styles throughout library for ease of user personalization.
* Shapes display real-time plant process values if a data binding to process variable exists.
* Semi-colon separated string of styles de-structured into styles object for targeted configuration of individual styles. Styles object then concatenated back to string on XML generation.

R2: User Friendly Graphical User Interface (GUI) Boardlet for Creation of P&ID Visualizations

* User friendly boardlet with a simple interface for generating new or updating previously generated P&ID visualizations.
* No configurations needed and abstraction of inner workings for the user.
* File input for the selection of the desired version of the P&ID shapes library.
* Buttons for generating the XML of the visualization, for downloading the visualization in both JSON and XML format, and to upload the XML visualization file to Sapient Engine® file system for the Legato Graphic Designer® boardlet to import and render.
* Visual feedback: progress bar for script run and viewer for the generated XML as text.
* Dashboard with boardlets: P&ID Creator, Node Tree Selector, P&ID Viewer.

R3: Client-Side Script for the Automated P&ID Visualization Generation as an XML File

* Required from user is only the selection of the desired P&ID shapes library version for the visualization and no additional configurations.
* Script encapsulates all required business logic in a single modular and composable, well-documented JavaScript file.
* Separation of primary concerns: presentation logic, database queries, data mappings, graphing algorithm and xml generation are all separate and inter-independent from each other.

R4: Mapping of Physical Plant Instances to Corresponding Visualization Component

* Mapping to work with minimal changes to the original data model for an unobtrusive implementation of the automated P&ID visualization generator and to avoid the need for new tables and fields in database.
* Minimum database requirement is a shapeName attribute to be property set in the model and thus in the database.
* Connections don’t require changes in model. The shapeName attribute for each line shape is determined via logic.

R5: Automatic Type Detection and Simplification of Connections

* Logic for setting the corresponding *shapeName* property to all connections: differentiate between data, process, connection and signal lines. Because of this, no need to specify a *shapeName* for connections in the data model.
* Connections defined in plant model, and thus also in database, in a logical instance to instance way, but suboptimal manner for the application of P&ID line shapes.
* Connections with multiple waypoints simplified by skipping intermediate ports, until a shape to shape connection (from start source to end target) is reached.
* Orthogonal line shapes optimized for minimal crossings and shortest routing between source and target.

R6: Declarative specification of Graphing Constraints in Form of Tags

* Declarative approach of tags which allow targeting specific shapes to be positioned according to specific set of positioning rules.
* Tags are loosely coupled so they don’t intervene with the algorithm, rather define the algorithm to be run.
* Separates vertex placement logic for shapes to be positioned with distinct positioning rules.
* Vertex placement algorithm can be easily progressively enhanced through the addition of more and more tags.

R7: P&ID Graphing Algorithm

* Research and analysis of state-of-the-art graphing algorithms.
* Simplicity over efficiency of the algorithm as to allow later improvements and since the creation of P&ID visualizations is not time critical.
* Depth-first post-order instance hierarchy traversal to get nodes in graphing order.
* Block-packing algorithm for the positioning of groups in groups to minimize the area.
* Algorithm concept for P&ID visualizations works no matter the complexity of the modelled process engineering plant.
* Ability of progressively enhancing the algorithm for creation of better and more complex visualizations without change in concept.
* Implementation of the algorithm for the example Aida Brewery plant.

R8: Dynamic Real-Time Display of Process Variables in the P&ID Visualization

* P&ID visualization with real-time updating shapes and shape labels.
* Different types of display of process values depending on data type of process variable and on shape category (for example: Boolean values set fill color for valves, but not for tanks).
* Components encapsulate a uniform set of data bindings to the actual process values and display values in real time.
* Default settings to override labels for shapes with data bindings to empty values.
* One-way data bindings that update automatically on the client-side instead of on the server-side for optimizing performance.
* Data bindings implemented with the sapient-bind property of the shape’s XML user-defined object which uses the mxGraph API already (placeholders).

R9: Prototypal Implementation in the Infrastructure of a MES (Legato Sapient®) and Documentation

* Component-driven, modular design of boardlet implemented with the Ember.js framework used in Legato Sapient®.
* Evaluation of the system: functionality, performance and scalability.
* Clear documentation of code.
* Document with next steps in case of interest on continuing development.
  1. Composition of the Bachelor Thesis
     1. Project Management

In favor of lightweight and flexible project management, the GIST methodology was preferred over more traditional agile methods. GIST is called after its main building blocks: Goals, Ideas, Sprints and Tasks, each with distinct planning perspective and frequency of change [1]. Instead of initially declaring tasks, goals where set, which enabled a plan to be defined in terms of the desired project outcomes. The goals stated in section 1.4 lead the decisions from beginning to end of the project and where maintained for the most part. Ideas where tracked during the entire project’s life cycled and reconsidered for implementation or discarded at the beginning of each sprint. Sprints where executed until all tasks where completed, though tasks of previous and future sprints where sometimes worked upon outside of the corresponding sprint. Tasks themselves where reconsidered weekly for the current sprint and tracked with a Kanban board.

* + 1. Project Sprints

S1: Research and Choice of Tools and Technologies

Before any work was done, the tools and technologies with which the goals would be achieved had to be at least preliminary decided. Though many diagramming frameworks and libraries exist, not all where optimal for the task at hand, therefore comparisons where done between the available technologies after meticulous analysis of the projects technical and conceptual requirements. The open-source mxGraph JavaScript diagramming library was chosen due to its lightweightedness, robustness between distinct web browsers and compatibility with the diagramming tool draw.io, built with mxGraph. Furthermore, the Legato Graphic Designer Boardlet in which the visualization is to be viewed is implemented with the mxGraph library.

S2: Creation of a P&ID Shapes Library

The second project sprint was the conception of an object-oriented library of modular shapes conforming to the industry standards for P&ID visualizations. This task was further divided into subtasks. first of which was the analysis of the mxGraph application programming interface (API), with which the visualizations were to be implemented in the browser. These consisted of the manual creation and analysis of example visualizations as well as a thorough reading to the API’s documentation. mxGraph is a fully client-side JavaScript diagramming library that uses SVG and HTML for rendering. The predefined process engineering shape library was used as a base for the next step: the creation of a statically defined, modular and composable object-oriented shapes library for P&ID elements. It was decided that this library was to be defined in JSON format, to facilitate user modification and tuning of the geometries, rather than in XML format like the visualization file itself.

S3: Requirements and Design of Software Architecture

After the creation of the statically defined P&ID shapes library file in JSON format came the conceptual elaboration of a preliminary software architecture for the project’s technical implementation in the MES Legato Sapient®. This task preceded the commencement of the agile development life cycle.

S4: Boardlet Design

Aligning to the Legato Sapient® design and coding principles implemented in the component based Ember.js framework, the start of the development phase consisted in setting up boilerplate code for the P&ID Creator Boardlet. After the creation of both a JavaScript (.js) and handlebars (.hbs) templating file, the preliminary wireframe design for the boardlet was made and coded. Attaining to principles of component- based design, the handlebars template was designed and developed modularly with both new and reused ember components. After having the boardlet up and running on the Sapient Engine® it became possible to start the progressive development of the business logic for the automated P&ID visualization generation.

S5: Generation of the XML file of the P&ID Visualization

The first development sprint for the generation of the XML file of the visualization where made before establishing a database connection for fetching of the plant instances on a separate testing boardlet. This testing boardlet allowed for constant modification and experimentation of the algorithms with pure JavaScript, HTML5 and CSS. These allowed for rapid coding without needing to be connected to the full sapient architecture. The plant hierarchy was first modelled statically in form of JSON files in place of the database queries which return equivalent JSON responses. The file input component for the uploading of the P&ID shapes library was recycled to directly load the needed files in the client, thus enabling faster trials and testing of the script in development until XML of unplaced, overlapping vertices was correctly generated.

S6: Connection and Fetching of Plant Instances from Database

After the script successfully and automatically generated an XML file of the P&ID from static JSON files of plant instances, the connection to the database and registering of database tables in the Legato Configuration Center® (LC2) followed. This allowed to test the XML generation script now with actual plant data queried from the database. This required a global data map of all required tables and fields. With the data map, name mappings where done and a function to fetch the data with custom filters implemented via a Legato specific function call. Modification of the database queries could now be done only by modification of the passed parameters for the query. The result of the XML generation algorithm with the actual plant data corresponded now with what was originally modelled for the plant. By now, all vertices and edges where correctly instantiated in the diagram, but vertices where placed one on top of the other. This lead to the start of the graphing algorithm for the placement of these vertices.

S7: P&ID Graphing Algorithm

The main task during this sprint was the development of a vertex placement algorithm to set the x and y properties of each vertex according to a defined set of positioning rules. Both a declarative, rule-based approach and an algorithmic approach for the optimization of area where used. First part of the algorithm consisted in the declaration of constraints in the form of tags based on shape attributes. This way, the positioning logic could be later better targeted at the distinct tags individually, since distinct shapes are to be positioned based on a distinct set of rules. The loosely-coupled tags where specified first and apart from the positioning logic, as this part was based on algorithmic optimization rather than classification. Afterwards, distinct sets of positioning rules where defined for each of the tags. The shapes would thus be iteratively positioned by the algorithm in a distinct and independent way. Furthermore, a block-packing algorithm was to be implemented for the positioning of groups in groups to minimize the area. Though much progress was made in a short time, a standpoint was later reached. Though the algorithm could still be made better, the time invested was too much compared to the progress, and because of the lack of time, the algorithm was left as is in order to continue with the last sprint.

S8: Dynamic Real-Time Display of Process Variables in the P&ID Visualization

Although the output of the P&ID Creator boardlet and the input for the P&ID Viewer is a static XML file of the P&ID Visualization, it must contain the data bindings for the dynamic display of the process variables. The data binding should be independently set based on the data type of the process variable via the sapient-bind attribute in each XML object. This logic had to be set before the string generation so that the distinct data types of the process values result in distinct labels or colors for each shape instance. The Legato Graphic Designer requires the ID (primary key) of the value in the database and automatically fetches the value in the background whenever it changes. This functionality is implemented as a mxGraph placeholders and allows for the data bindings to be also included in the static XML file of the P&ID visualization.

S9: Prototypal Implementation and Evaluation in the Infrastructure of MES Legato Sapient®

Although plant instances where already modelled and available from the database during the project, no connection to the gateway of the example Aida Brewery plant existed. This prevented the testing of real time display of process variables with the systems, though the feature was indeed implemented, and thus, the requirement fulfilled. Still, the solution was implemented entirely on the Legato Sapient® infrastructure, and evaluated for feasibility for industrial production environments.

1. Technological Standpoint
   1. Industrial Process Control
      1. Overview

*Control engineering* is an engineering subfield which applies *automatic control theory* for designing systems with certain behaviors. FIGURE XXX shows some applications of control engineering in different contexts. This thesis will focus on the application of control theory in industrial production contexts, more specifically, in industrial processes.




Figure 2 Scope of the bachelor thesis within the applications of control engineering. Source: Automatisierungstechnik 1 Chair for Automation and Information Systems TUM

A *process* is defined as a series of actions taken to achieve an objective. More specifically, an *industrial process* is the systematic application of mechanical and/or chemical operations for the production or manufacture of something.

*Industrial process control* is thus the systematic optimization of consistency, economy and safety of continuous production industrial processes [TODAS LAS DEFINICIONES SON DE WIKIPEDIA]. To achieve this, process control incorporates the fields of control and chemical engineering to automate production of *continuous* or *batch processes*. In contrast to *manufacturing control systems* which typically favor flexibility because of the heterogeneous and usually discontinuous nature of manufacturing, process control systems favor robustness, real-time reactivity and safety above flexibility. This way, process control systems are implemented to run non-stop for decades. The size and complexity of industrial process plants generally represents a significant engineering challenge, but its long-lasting nature has historically taken the process industry to the vanguard in industrial production control.

*Process control systems* have traditionally been hierarchically structured. Nonetheless, the high degree of networking and the availability of substantial amounts of data has lead the trend for their decentralization. Enabled by an interconnected network of Cyber Physical Systems (CPSs), modern process control systems now allow for adaptive and self-configuring production. FIGURE XXX shows the trend for the decentralization of traditional automation into Cyber Physical Systems (CPS) for flexible, data-driven and efficient production.




Figure Decentralization of traditional automation from a hierarchical structure via Cyber Physical Systems (CPS).

* + 1. Plant Hierarchy, Procedural Control and Process Models

The *Plant Hierarchy Model* or [*ISA-95*](https://en.wikipedia.org/wiki/ISA-95), as it is more commonly referred to, is an international standard for developing an automated interface between enterprise and control systems [<https://en.wikipedia.org/wiki/Enterprise_control#ISA95_.E2.80.9Clevels.E2.80.9D_for_enterprise_integration>]. With it an industrial organization can structured in a hierarchical manner, in which the starting root node is the hierarchy itself. The Plant Hierarchy Model described by the ISA-95 standard directly mirrors the physical model, and thus serves as a virtual clone of the actual physical instances. This is important for industrial process automation since the physical elements can then be abstracted into classes and programmed with an object-oriented paradigm. This results in huge benefits for the software engineers, since object-oriented development facilitates code reuse, enhances encapsulation and encapsulation and lessens need for code maintenance. Contiguous to the Plant Hierarchy Model, the *ISA-88* standard describes the *Procedural Control* and *Process Models*, particularly for process control – the scope for this project. Figure XXX associates all three mentioned models together, and highlights what the ProcAppCom project of this bachelor thesis encompasses.




Figure Correlation of Plant Hierarchy Model according to ISA-95 and Procedural Control and Process Models according to ISA-88 in form of a class diagram with the scope of this project in yellow.

* + 1. Formalized Process Description

The interdisciplinarity required in the field of industrial process engineering requires engineers of distinct backgrounds to work together. The source of information for industrial control systems in the field is thus typically distributed across chemical, control, electrical, mechanical and software engineering disciplines. This results in the need for a *formalized process description*, or a standardized description from all process kinds (12). The goals of this standard, as described by the *VDI 3682 standard* include: universal applicability for all kinds of processes and plants (including non-technical ones), to serve as a clear (visual) aid for interdisciplinary understanding, to be formalized to prevent misunderstandings, and to serve as basis for the plant models. Discipline-specific examples of formalized process descriptions for an example brewery could be:

* Chemical: batch process models, chemical reaction equations, etc.
* Control: control theory block diagrams, etc.
* Electrical: electrical layout plans, etc.
* Mechanical: computer aided designs (CAD), plant floor plans, piping plans, etc.
* Software: class diagrams, activity diagrams, entity relationship maps, etc.

Due to the high degree of interconnectivity of the information itself, it makes sense to have an interface for all information sources, rather than separate documents for each. The following shows the stages of the formalized process description for industrial process control in ascending order of concretization:

1. Graphical representation of the process (process-oriented)
2. Information model of the process objects and their relationships (information-oriented)
3. Objects attribution by identifiers and characteristics (process-oriented)
4. Administration of attributes (information-oriented)
5. Export and import procedures with computer aided engineering (CAE) systems (information-oriented)

The ProcAppCom project comprised all five stages for the abstraction of the example Aida brewery plant. However, the following discipline-specific flow diagrams for industrial process control are especially relevant to this bachelor thesis. Listed in ascending order of concretization, these are:

* Basic Flow Diagram [ISO 10628]: an abstract representation of the process steps, operations, plants and plant parts in the form of a block diagram
* Process Flow Diagram [ISO 10628]: a more concrete representation of a process or plant characterized by equipment and apparatus
* Piping and Instrumentation Diagram [ISO 3511]: the most detailed representation of procedures and equipment with description of *process control engineering (PCE)* tasks.

This project deals with the generation of the third and most concrete process flow diagram and is therefore handled in more detail in the next section.

* + 1. Piping and Instrumentation Diagram (P&ID)

A *Piping and Instrumentation Diagram (P&ID)* is the most detailed flow chart used in the process industry for the description of processes and process plants. A P&ID shows the piping, equipment, instruments, control systems and connections of an industrial process plant in a relatively structured manner and is therefore a vital interdisciplinary document for chemical, control, electrical, mechanical and software engineers alike.




Figure An example Piping and Instrumentation Diagram of an evaporative crystallizer. Source: Wikipedia

Contents

In spite of the formalized nature of P&ID diagrams, no exact standard for how to draw P&IDs exists. The *Process Industry Practice (PIP)*, a consortium of contractors and owners in the process industry indicates in their PIC001 document, what a P&ID should contain. Nevertheless, due to space and complexity constraints, it was determined that the P&IDs to be generated within this project should only contain the points marked with a check-mark from the following taken from the PIC001 specification:

* Mechanical equipment with names and numbers
* All valves and their identifications
* Process piping, sizes and identification

Miscellaneous - vents, drains, special fittings, sampling lines, reducers, increasers and swagers

Permanent start-up and flush lines

* Flow directions
* Interconnections reference

Control inputs and outputs, interlock

Seismic category

Interfaces for class changes

Quality level

Annunciation inputs

Computer control system input

Vendor and contractor interfaces

Identification of components and subsystems delivered by others

Intended physical sequence of the equipment

Equipment rating or capacity

P&ID visualizations have the advantage of being simple whilst having the ability to further refine and improve them. On the other hand, a major disadvantage are the inconsistencies that exist between industries and companies due to a lack of promulgation of the standards.

Functions

The functions of a P&ID are essential in the development, modification and maintenance of processing facilities. According to [ <https://www.lucidchart.com/pages/p-and-id> ], these include:

Produce documents that explain how the process works

Develop guidelines and standards for facility operation

Serve as a basis for control programming

Design a conceptual layout of a chemical or manufacturing plant

Form recommendations for cost estimates, equipment design, and pipe design

Provide a common language for discussing plant operations

Create and implement philosophies for safety and control

Evaluate construction processes

Symbols and Notation

Contrary to the contents of a P&ID, the symbols and notations used in P&IDs are vastly standardized. The instrumentations symbols serve to understand the data presented in the P&ID and should adhere to the ANSI/ISA S5.1-1984 (R 1992) standards. This ensures that communication of instrumentation, control and automation is consistent and system independent, for its interdisciplinary understanding. Figure XXX shows the four graphical elements defined by ISA S5.1: discrete instruments, shared displays or controls, computer functions and *programmable logic controllers* (PLCs):




Figure General P&ID instrument or function symbols according to ISA S5.1

* 1. Manufacturing Execution Systems
     1. Overview

A *Manufacturing Execution System* (MES) is a software system used in manufacturing for the tracking and documentation of industrial production from raw material to finished products. A MES is responsible for providing valuable information for the management and control of manufacturing by working real time to control the multiple elements of the production process like machines, personnel, support services, process variables, amongst others. A MES sits between *Enterprise Resource Planning* (ERP) software and *Supervisory Control and Data Acquisition* (SCADA) systems in the automation hierarchy and is capable of real-time, field-level process control as well as some resource planning functionalities.

* + 1. Functions

According to the VDI (Verein Deutscher Ingenieure) and ISA (International Society of Automation), a MES encompasses the following main functionalities:

Material/product stock management

Data collection

Performance analysis

Order planning and control

Quality management

Information management

Human resource management

* + 1. Overview of Legato Sapient®

*Legato Sapient®* revamps the traditional, platform specific and sometimes antiquated MES software solutions still widely used in the industry with the *Legato Web Application*: an entirely web-based, flexible and scalable software solution to keep up with the industry 4.0 requirements and fast-moving environment. Legato Sapient covers a wide range of applications and is designed modular. Stand-alone functional modules are available for all key MES functions previously mentioned. This allows user implementations to be configured individually, module by module, up to a complete production management system.

Features

Unique to the Legato Sapient® product are its modular implementation of basic functionalities of MES, called Legato Efficiency Boosters or EBs for short. These can be activated just in time and not only upfront, what allows Legato to grow together with its requirements. The following overview lists the available efficiency boosters:

* **EB Work Time Models:** to define shifts and breaks for a production area
* **EB Alarm Management:** for recording, archiving and further processing of alarms
* **EB Key Performance Indicators:** provides machine-related KPIs like production time, failure times, piece counters, availability, overall equipment efficiency (OEE), mean time to repair (MTTR) or mean time before failure (MTBF), etc.
* **EB Machine States:** *Machine Data Acquisition (MDA)* based on configurable machine states to aid in machine management
* **EB Document Management:** to administrate machine-related documents like NC or PLC programs, manuals, CAD-drawings, maintenance instructions, etc.
* **EB Measurement Controlling:** supports measurement planning after SixSigma DMAIC method (define, measure, analyze, improve, control)
* **EB Shift Logs****:** to dispose digital notes to production and document them
* **EB Best Cycle Time:** to measure cycle times and calculate the *best cycle times (BCT)* for selectable stations or components
* **EB Energy Management:** to measure and calculate energy consumptions
* **EB TPM and Spare Parts:** *total productive maintenance (TPM)* to support preventive maintenance
* **EB Web Visualization:** to create, visualize and maintain SVG based graphics
* **EB Web Reporting:** for integrated business intelligence (BI) reports using BIRT library
* **EB Supervisory Station:** provides a Gant diagram display of operation sequences
* **EB Tracking and Tracing:** identifies and tracks *production units (PU)* like parts, lots and batches, depending on production system
* **EB Work Time Management:** to record and manage employee work times
* **EB Recipe Management:** to manage machine parameter sets and recipes
* **EB Quality Management:** provides qualityguidelines, levels and checklists for quality control
* **EB Product Stocks and Logistics:** for efficient planning of warehouses, warehouse locations, stocks, stock movements, etc.
* **EB Mobile Ap – Legato Info:** to access real-time information for management and maintenance anytime and anywhere (supports iOS, Android and Windows phone)

Hardware Architecture

Legato Sapient® permits software components to be run either on Windows, Linux or Unix *Operation Systems (OS)* with the exception of OPC servers in the *Legato Database Gateway*. Additionally, processes like the *Legato Web Application* or the *Legato Application Engine* can be operated through virtual environments. The scaling up of an application to hundreds of web users and thousands of data sources (from PLCs for example), common to the automotive industries can be achieved by splitting the software processes to different server platforms: 1 to many communication servers with the *Legato Database Gateway*, a database server and an application server with *Legato Web Application* and the *Legato Application Engine*.

Software Architecture

The entire Legato software architecture is based on a central relational database to store both configuration and process data. The *Legato Database Gateway* manages the real-time connections to field devices by means of distinct interface technologies and flexible project specific scripting solutions. The Graphical User Interface (GUI) is entirely web-based as it is built up entirely using HTML5, CSS3 and JavaScript; The *Legato Web Application* provides the views for the GUI in form of boardlets which build up customizable and modular dashboards and are implemented with the Ember JavaScript Framework and the its component model. SOAP (Simple Object Access Protocol) web services are used to integrate web app and other shop floor IT systems. This means that a standardized web browser is the only requirement for the basic functions of a Legato client. The *Legato Application Engine* runs distinct jobs for different tasks like data management, importing and exporting data and for data processing and calculation of *Key Performance Indicators* (KPIs). Additionally, the *Legato Sapient API* provides user-specific and tailored solutions by providing a simple interface for the interconnection of customer boardlets with other boardlets, the database, and other standard elements.




Figure 7 Legato Sapient® Software Architecture leverages the web platform to offer a fully-fledged MES Software as a Service (SaaS) solution. Photo from GEFASOFT

* 1. Web Applications
     1. Overview

The *World Wide Web* was originally conceived as an information space for the distribution of static documents and resources interlinked by hypertext links and accessible via the internet [https://en.wikipedia.org/wiki/World\_Wide\_Web]. The web has since then been critical for the development of the information age. Initially, web content was limited to being static, simple text documents navigable via embedded hyperlinks. The web browser was nothing more than a search engine, hence the name “*browser*”. Nevertheless, with the later development of scripting languages like JavaScript, code could be programmed to run directly in the client’s browser. This empowered web browser to dynamically generate and update content in the client-side, what lead the shift to the development of web applications.

A *web application* is a full client-server computer programs with a user interface and client-logic running in the web browser. Although initially limited by the web browsers capabilities, new *Application Programming Interfaces (APIs)* have been developed which empower the browser with capabilities that were previously exclusive to native applications. These APIs allow web apps to leverage and consume services like Bluetooth, the camera, the local file system, sensors and accelerometers, GPS (Global Positioning System), amongst many others. Web and native are thus at par regarding many key functionalities for application development. Furthermore, the cross-platform nature of the web platform is a major advantage of developing web and not native applications. While web applications require only to be programmed once to run in all devices with a web browser and an internet connection, the code for native applications is usually platform-specific. By virtue of the recent development of the web platform, more and more applications are being advantageously developed for the web. The Legato Sapient® MES exemplifies how companies today leverage these benefits to build robust, industrial grade web applications.

* + 1. List of Technologies

The accelerated technological evolution in recent years has brought significant changes to the web platform. Meanwhile, web application technologies have had to swiftly adapt to not lose ground against native application technologies. Driven by the constant evolution of the web platform, the amount of web application technologies has dramatically increased in parallel. The following list covers the concepts and technologies employed for the technical implementation of this project.

**HTML**

*Hypertext Markup Language (HTML)* is the standard markup language for the creation of web content. HTML elements or tags are the building block of the web and are used to declaratively define the structure and content of the web page.

**CSS**

*Cascading Style Sheets (CSS)* is a style sheet language used for describing the presentational aspect (layout, colors, fonts, etc.) of content defined in a markup language like HTML. CSS enables the separation of style from content and allows for sharing of styles throughout multiple web pages. CSS has selectors to target specific HTML elements and style rules which follow a priority scheme to determine the styles to be applied for the selected elements.

**JavaScript**

*JavaScript (JS)* is a dynamic, weakly-typed, high-level interpreted programming language. Along with HTML and CSS, JavaScript is one of the three core technologies of the world wide web. JavaScript enables web pages to be interactive and is thus essential for web applications. Being a multi-paradigm language, JavaScript allows for event-driven, functional, imperative and object-oriented programming. Although it was initially developed for the front-end as a client-side implementation for the web browser, it has now been extended to support back-end implementation for web servers and database development.

**XML**

*Extensible Markup Language (XML)* is a textual data format and markup language for encoding documents in a human- and machine-readable format. Although XML was specifically designed for documents, the language is also widely used for the representation of arbitrary data structures such as those used in the web [ <https://en.wikipedia.org/wiki/XML> ]. XML documents use user defined tags and implementations can be specified with the use of any of the available schema systems. Moreover, many APIs exist for distinct programming languages for working with XML. In this project, the XML format is used to define the generated P&ID visualization, or more specifically the data structures that define it.

**JSON**

*JavaScript Object Notation (JSON)* is a lightweight data interchange format used to represents arbitrary data structures as data objects consisting of attribute-value-pairs and array data types [ <https://en.wikipedia.org/wiki/JSON> ]. The JSON format is commonly used for asynchronous browser-server communication and has replaced XML in many applications. JSON is a language independent data format, nevertheless, it was derived from JavaScript and thus is syntactically similar to a common JavaScript object. This, its high readability, amongst other advantages facilitate working with data structures in JSON, reason for which it is the chosen data format for the P&ID shapes library of this project.

**Scalable Vector Graphics (SVG)**

*Scalable vector graphics (SVG)* are an open-standard vector-image format developed by the web to represent two-dimensional interactive and animable graphics in an XML-based format. SVG allows for three types of graphics: vector graphic shapes such as outlines and paths, text and bitmap images. Vector-graphics enable geometries to be defined in mathematical terms, instead of as a bitmap of pixels, which in turn keep the image quality when scaling and zooming. The standard supports the grouping of graphical objects, as well as linking, animation, font-selection, metadata, filter-addition, amongst others, all of which can be directly modified in standard text editors. All major browsers support SVG making it a preferred format for high-quality graphics in the web.

**mxGraph and Draw.io**

*mxGraph* is an open-source diagramming library for the rapid creation of interactive charts and diagrams that run natively in web browsers. The mxGraph API exposes a number of functionalities for the implementation of the library and is available in various programming languages, including *JavaScript, Java, PHP* and .*NET*. The API provides a robust package of high-level methods and services for integration in web applications. Built using the mxGraph library, draw.io is a visual diagramming tool with rich functionality (that of mxGraph) for the creation of fully integrated charts and diagrams in other popular software platforms like *Google GSuite*, *Confluence* and *Jira*.

**Web Development Frameworks: Ember JS**

Ember JS is a front-end JavaScript framework that facilitates building websites with rich and complex user interactions. Ember JS provides developers with features to manage complexity in modern web applications, as well as an integrated development toolkit for rapid development and iteration. Features of the framework include: routing to drive the application state via common URLs, a data layer to manage application state and provide a consistent way for external API communication, a Handlebars based templating engine, a robust Command Line Interface (CLI) toolkit to create, develop and build ember applications, among others. Built on the principle of component-driven design and development, the ember framework facilitates the creation of modular, encapsulated components of code. This facilitates and promotes code reuse as well as a modular front-end design which tends to be essential in the long run, especially for larger products.

**Relational Database: PostgreSQL and SQL**

A *relational database* is a collection of data structured based on a relational model of the data [ <https://en.wikipedia.org/wiki/Relational_database> ]. The relational model organizes the data into one or more tables of columns (or attributes) and rows (or records), with a unique key to identify each row. Normally, each table represents a distinct type of entity, like a student or an exam, and rows represent individual instances of that entity, like “Mike” or “Math”. In relation to object-oriented programming, it can be said that tables are analogous to classes, rows to objects and columns to the object’s attributes, with fields being the specific values of those attributes for the corresponding object.

Normally, *structured query language (SQL)* is used to manage a relational database. SQL is a domain-specific language designed manage data through *relational database management Systems (RDBMS).* Features of the language include data definition, data manipulation (update, insert and delete), data query and data access control. SQL defines certain statements for working with the data at hand using relational algebra and tuple relational calculus. A typical SQL statement or query consist of clauses like “SELECT”, “UPDATE”, “SET”, “WHERE”, expressions and predicates and allow to retrieve and persist changes to data.

The database at hand for this research product is implemented in PostgreSQL. PostgreSQL is an open source object-relational database system with an extensive and powerful set of features for developers. The PostgreSQL database and an available Legato-specific database API were available before the start of the project. More on the database implementation for the context of this project will be discussed later.

**Data transmission: AJAX and JSON API**

The *Fetch API* provides a simple interface for the fetching of resources, including across the network [ <https://developer.mozilla.org/en-US/docs/Web/API/Fetch_API> ]. The Legato Engine implements its own high-end functionalities to query the database via the Fetch API in the form of *Asynchronous JavaScript And XML (AJAX)* requests that return JSON objects. These return objects are specified by the JSON API to ensure best practices. The *JSON API* is responsible for the definition of standards and best practices for data exchange in JSON format [following from <http://jsonapi.org/format/> ]. It specifies how a client should request to fetch or modify resources, and how a server should respond to those requests. The correct use of JSON API can minimize the number of requests and the amount of data transmitted between clients and servers.

* 1. Unified Modelling Language (UML)

The *Unified Modelling Language (UML)* is a graphical description language for specification, visualization, construction and documentation of systems. The use of standardized graphical modelling languages like UML increase the clarity and thus understanding of the model even across different engineering disciplines. The different types of UML 2.0 diagrams can be classified into two categories: structure models and behavior models and further classified as FIGURE XXX shows.




Figure UML 2.0 diagram hierarchy shown as a class diagram, with graph types used throughout this writing in yellow.

Apart from the standard UML 2.0 implementation, the standard allows for its extension by means of new element declarations using stereotypes and constraints to ease domain specific implementations. In production automation systems (both process and manufacturing), extension profiles like *SysML (Systems Modeling Language)* and *UML-PA (UML for Process Automation)* serve to model the system description. The system description can be further broken down as follows [LEHRSTUHL AIS SEFI1]:

* **Plant structure:** component hierarchy, topology, component relationships
* **Plant components:** Mechatronic structure, properties/parameters, economic data
* **Networks**: electrical construction, communication systems
* **Behavior:** component behavior, control system design, robot processes
* **Geometry and Kinematics:** mechanical construction, motion planning, electrical construction

This enables UML to directly address the specific modelling requirements for systems of distinct nature. Throughout this document, following UML 2.0 and extension diagram types will be used, some of which with slight modifications and simplifications:

* + 1. Class Diagram

*Class Diagrams* are a type of static structure diagrams for the description of systems in the form of classes, their attributes, methods, and the relationships to other classes. A class diagram can be considered the main block of object-oriented programming, as it abstracts systems into detailed conceptual models which can be used to generate programming code. Class diagrams can also be used for data modelling and are thus crucial for the structuring of a system into its corresponding data model.

* + 1. Object Diagram

An *object diagram* is a graph of instances, including objects and data values. A static object diagram is thus an actual representation of the state of the system at any point in time, encompassing both objects and relationships at that moment in the system. Although similar to class diagrams in appearance, an object diagram further serves software developers to examine specific iterations of a more general system and consequently, to achieve a detailed overview of the system at the object level, rather than the more general class level. *Object Relational Mapping (ORM)* is facilitated by virtue of this diagramming method. ORM systems serve to convert data between incompatible type systems using object-oriented code. In this project for instance, the data in the relational database tables had to be mapped to object instances for its manipulation with code. An object diagram was used correspondingly to define the data model, which would later be mapped using JavaScript at runtime to JavaScript-compatible object instances.

* + 1. Entity Relationship Diagram

*Entity Relationship Diagrams (ERD)* are a type of flowchart used to map how entities relate to each other within a system. In software engineering, ERDs are most commonly used to design and debug relational databases. This type of diagram defines a set of graphical symbols to depict entities with their attributes and relationships in which entities are usually expressed nouns and relationships as verbs. Several notations of such graphical symbols exist; In this writing, a simplified version of the Crow Foot style for Information Engineering will be used.

* + 1. Activity Diagram

*Activity Diagrams* are a subset of UML behavior diagrams used to describe the dynamic aspects of a system’s workflow as a set of step-by-step activities or actions. As such, activity diagrams are key in the representation of algorithm logic, to model software architecture elements like methods and functions, and in clarifying complicated use cases for the simplification and improvement of processes. They consist of actions, decision nodes for conditional divergence of flow, control flows, and a start and end node.

* 1. Graphing Algorithms
     1. Graph Theory

*Graph theory* stems from discrete mathematics and is the study of *graphs*, mathematical structures used to model pairwise relations between objects [<https://en.wikipedia.org/wiki/Graph_theory> ]. Graphs have many applications, most notably in modeling of social, biological, physical and information systems [Mashaghi, A.; et al. (2004). "Investigation of a protein complex network". European Physical Journal B. 41 (1): 113–121].

Graph

A *graph* can be mathematically described as an ordered pair G = (V, E) composed of a set of *nodes* or *vertices* V and a set of *lines* or *edges* E, which are two-element subsets of V, since each edge is associated to two vertices. The edges of a graph can be either *directed* or *undirected*, and a vertex’s degree describes the number of edges connected to it. The sets V and E are usually finite, and the *order of the graph* is its number of vertices |V| while the *size of the graph* corresponds to its number of edges |E|.

Graph edges can have *cycles*, and edges can have either qualitative or quantitative data types called *values* or *weights* on them. Figure XXX further categorizes the types of data an edge can acquire as values. A *Tree* describes a subset of general graphs with no cycles, directed edges and a specially designated, single root vertex.




Figure Class diagram of possible types of data an edge can acquire. Source: sixsigma-institute.org

**Adjacency**

The *adjacency* of a graph is the representation of the graph itself, including vertex instances along with their relationships to other vertices, from which edges can be derived. Adjacency representations support both directed and undirected graphs and can be expressed in graph form, as *node-link diagrams*, in matrix form, the *adjacency matrix*, or in list form, an *adjacency list*, all of which contain the same information, each specific for distinct applications. Adjacency of the P&ID visualizations required for this project was for instance read from relational database tables via parent and children attributes and parsed into an adjacency list to pass later to the graph layout algorithm for its generation.

* + 1. Types of Graphs

The flexible nature of graphs results in the possibility of breaking them down into countless different types, some of which are trivial for most cases, and most of which attain to no particular standard in their nomenclature. Rather than defining all graph type possibilities, only those relevant to this project’s scope and context are considered. The categorization is split into two subcategories based on either their relationship characteristics or layout heuristics.

Based on Relationship Characteristics

Based on the relationships or more specifically the nature of their edges, graphs are broken into:

* **Undirected Graph:** a graph with edges with no direction between vertices
* **Directed Graph:** a graph with directed edges, which connect vertices in a specific way
* **Weighted Graph:** a graph in which each edge is given a numerical value or weight to represent distinct things like costs, lengths or capacities. Although usually numerical, weights can be nominal, ordinal or quantitative




Figure Types of graphs (categorized based on their relationships) relevant to this project and their corresponding adjacency matrices. Source: EMBL-EBI

Based on Layout Heuristics

Layout heuristics, or how the graphs are laid out, significantly influence the visual appearance of graphs. Based on layout heuristics and with focus on the scope of this thesis, P&ID visualizations shares similarities to the following graph types:

* Planar Graph
* Grid-based Graph
* Orthogonal Graph
* Hierarchical Graph
* Horizontal/Vertical Flow Graph
* Horizontal/Vertical Tree Graph
* Circular Graph
* Organic Graph
  + 1. Graph Drawing in Software

*Graph drawing* is a field of math and computer science for the conception of two-dimensional depictions of graphs. In software, this is done by combining. Although many algorithms exist for the efficient drawing of graphs, a number of aspects directly proportional to the size of the graph must be considered and several challenges remain, as stated in [<https://slideplayer.com/slide/12488750/> ]. This include:

* **Graph layout and positioning:** which consists in making a concrete render of an abstract graph or mathematical representation. This is a particularly complex task, since vertices can have any degree (any number of connected edges) and can thus quickly become computationally expensive. Further sub-challenges include:
* **Rank Assignment:** compute which nodes have larger degree to place them at center of clusters
* **Crossing Minimization:** swap nodes to rearrange edges in favor of minimizing crossings
* **Subgraph Extraction:** ability to identify and pull out clusters of nodes
* **Planarization:** pull out a set of nodes that can lay out on plane
* **Scaling:** challenging for large graphs which cannot fit vertices and edges into screen space. Scaling can also significantly slow down an algorithm
* **Navigation and Interaction:** how to support user moving around graph and changing focus without entailing a new render
* **Vertex issues:** defining the shape, color, size, location and label for vertices of different types, with different positioning, etc.
* **Edge issues:** defining the shape, color, size, label, form, if polyline, straight line, orthogonal, etc.

Additionally, graph drawing involves the following complexity considerations:

* **Edge Crossings**: to minimize edge crossings towards a planar graph layout
* **Total Edge Length:** to minimize towards proper scaling
* **Area:** to minimize for efficient use of space
* **Maximum Edge Length:** to minimize the longest edge for compactness
* **Uniform Edge Length:** to minimize variances in lengths of edges for uniformity
* **Total Bends:** minimize orthogonal bends in favor or straighter lines for clarity

Several studies [Purchase, Graph Drawing ’97, Ware et al, Info Vis 1(2), June ’02 and Ghoniem et al, Info Vis 4(2), Summer ‘05] have found that of the mentioned complexity factors, what seems to be most important for the optics of the visualization is the minimization of edge crossings (refer to SECTION XXX for the implementation of this in this bachelor thesis).

* + 1. Graph Layout Algorithms

Likewise, many graph layout algorithms for different graphing types. With respect to this project, the following are relevant and where used as reference in development of this project’s P&ID graph layout algorithm:

* **Grid Layout Algorithm:** consists in placing vertices on a constrained two-dimensional grid
* **Tree Layout Algorithm:** consists in traversing the tree hierarchy in order (for example by using a depth-first or breadth-first algorithm) and setting the vertices in that order (either vertically or horizontally)
* **Force Directed Layout Algorithm:** models graph as a set of masses connected by springs, and simulates this mass-spring system for the layout or separation of the vertices
* **Planar Layout Algorithm:** draws graph by laying vertices out in order to avoid edge crossings. A graph is said to be *planar* if it can be properly drawn in the plane with no edge crossings.




Figure A simple graph G=(V,E) with |V|=4 and |E|=3 as laid out using the four main graph layout algorithm strategies relevant to this project.

* + 1. Graphs and P&IDs

The P&ID visualizations required for this project borrow characteristics from all graph types mentioned, nevertheless, tree structures are the best match. Trees represent a subset of a general graph with no cycles and a single, designated root vertex, typically only with directed edges. Trees are analogous to the plant instance hierarchy modelled by the SysML model and translated to the relational database in form of flat tables (REFER TO SECTION XXX). Despite this translation, the intrinsic hierarchical structure of the model remains in the flat database tables in the form of parent and children attributes. Being a tree structure what best embodies the structure of the P&ID visualization to be generated, the tree layout algorithm heavily influenced the developed algorithm.

* 1. Related Works
     1. Overview of Related Works

The topic of automatic visualization generation is much investigated, and many concepts exist for different purposes, nevertheless, not many exclusively targeted at industrial process applications. Consequently, no one research nor practical project was identified, which coincides with the majority of this project’s requirements. Following is a list of related works which do indeed assimilate some of this project’s requirements outlined in section 1.5 and listed again below in table 2.

|  |  |
| --- | --- |
| Key | Title |
| W1 | An Automated Generation Approach of Simulation Models for Checking Control/Monitoring System [1] [Prat, 2017] |
| W2 | Automatic Model Generation for Virtual Commissioning based on Plant Engineering Data [2] [Oppelt, Wolf, Drumm, Lutz, 2014] |
| W3 | A Grey-Box Approach for Automated GUI-Model Generation of Mobile Applications [3] [Yang, Prasad, Xie, 2013] |
| W4 | Object-oriented engineering data exchange as a base for automatic generation of simulation models [7] [Barth, Strube, Fay, Weber, Greifeneder, 2009] |
| W5 |  |
| W6 | Automated Generation of Modular and Dynamic Industrial Process Plant Visualizations in a Manufacturing Execution System (MES) [Romero Karam, 2018] |
|  |  |

Table Overview of related works

* + 1. Comparison of Related Works

The technical and conceptual requirements to be addressed for this project compare as follows to the previously listed set of related works:

|  |  |
| --- | --- |
| **R1** | Library of modular P&ID Visualization Components According to Industry Standards |
| **R2** | User Friendly Graphical User Interface (GUI) Boardlet for Creation of P&ID Visualizations |
| **R3** | Client-Side Script for the Automated P&ID Visualization Generation as an XML File |
| **R4** | Prototypal Implementation in the Infrastructure of a MES (Legato Sapient®) and Documentation |
| **R5** | Mapping of Physical Plant Instances to Corresponding Visualization Component |
| **R6** | Automatic Type Detection and Simplification of Connections |
| **R7** | Declarative specification of Graphing Constraints in Form of Tags |
| **R8** | P&ID Graphing Algorithm |
| **R9** | Dynamic Real-Time Display of Process Variables in the P&ID Visualization |

Table 2 Overview of project technical and conceptual requirements

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Work** | **R1** | **R2** | **R3** | **R4** | **R5** | **R6** | **R7** | **R8** | **R9** |
| W1 | ✓ |  |  |  |  |  |  |  |  |
| W2 | ✗ |  |  |  |  |  |  |  |  |
| W3 | ○ |  |  |  |  |  |  |  |  |
| W4 |  |  |  |  |  |  |  |  |  |
| W5 |  |  |  |  |  |  |  |  |  |
| W6 | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ |
|  |  |  |  |  |  |  |  |  |  |

Table 3 Related works summary based on the addressed requirements.

✓ – Addressed and implemented

○ – Not addressed

✗ – Not implemented

1. P&ID Shapes Library
   1. Introduction

The Legato Graphic Designer boardlet where the generated P&ID visualization in form of a single, static XML file is to be uploaded for rendering, implements the mxGraph API already, from which the draw.io diagramming software tool is built upon. This heavily influenced the decision for the implementation of the mxGraph API for the project. Still, other alternative libraries and frameworks where considered and compared. Nonetheless, it was concluded that the intended functionalities could indeed be implemented via the mxGraph library and that it was the best option. Moreover, this mature, open-source API has many implementations from which to choose from. The mxGraph JavaScript library was selected for this project and implemented for the object-oriented abstraction of the geometries of the graphical elements. These graphical elements or shapes where abstracted in terms of the parameters specified by the mxGraph library for later compatibility. Apart from the adoption of the existing mxGraph parameters that define the shape’s geometries, most which are directly derived from the SVG format, no other mxGraph methods or services where used; The geometrical parameter specification was analyzed and structured into a general class diagram, from which a static shapes library was assembled to be later manipulated with pure JavaScript. The abstraction of the mxGraph API allows for the developed solution to be virtually library-independent.

* 1. mxGraph API

The JavaScript implementation of *mxGraph* is an open-source developer library in form of a single JavaScript file that contains all functionalities to provide features aimed at applicationswith interactive diagrams and graphs. It is licensed under the *Apache 2.0 license* and thus, free for commercial usage. Due to its simple architecture, mxGraph requires only of a web server capable of serving html pages and a JavaScript enabled web browser to function. The library provides all required functionality to draw, interact, and associate a context to visuals and diagrams or graphs on the client-side. This means that round-trips to the server are not required for interaction events, which provides a quick and responsive native feel and allows offline usage. Besides that, the library provides several working examples to guide developers to the libraries functionalities. According to the official mxGraph User Manual, key advantages of the technology are:

No third-party plug-ins are required which removes vendor dependence.

Technology is open source, so no risk of application becoming unfunctional due to vendor changes.

Standardized technologies for reach to a maximum number of browsers without requiring additional installation or configuration at the client computer.

* + 1. Geometrical Abstraction of Process Engineering Elements




Figure Interface of plant model instances (green), P&ID shapes (blue) and mxGraph API (purple).

For this project, it was decided that the Process Engineering Shapes provided by draw.io diagraming tool should be used for the P&ID shapes library. These shapes already strictly adhere to the P&ID industry standards for symbols and notations regulated by the PIP. This decision enabled the quick conception of the static P&ID shapes library to then continue with the code for the diagraming of the visualizations themselves. Still, analysis of the mxGraph API schema at hand was necessary for the object-oriented abstraction of the geometrical definition of the shapes based on their inherent geometrical and functional traits. Figure 12 describes the overview of the relationships between the physical plant instances, the P&ID shape library and the mxGraph API in form of a global class diagram.

The mxGraph API provides many functionalities and services for the creation of graphs with JavaScript, and the previous class diagram is merely an overview. Nevertheless, for the purpose of this project, many of these functionalities were not required. The Legato Graphic Viewer boardlet already implements many of these functionalities to render visualizations in the form of single XML files. The purpose of this project: the automated generation of P&ID visualizations in form of a single XML file for the Legato Graphic Viewer to load and render later, required but the general schema of how to define graphs and shapes. From this general schema, the final static definition of all P&ID shapes in the library was to be derived, with the following section showing how that was done.

* + 1. Creation of the Object-oriented Shapes Library

Concept

In line with the project requirements outlined in section 1.5, the P&ID shapes library was to be modular and composable and define the shapes in SVG format. This was to be achieved by means of an object-oriented design of the library, to enable abstractions, hierarchies and inheritance between classes and the object instances. Inheritance was to provide the library with flexibility and customization; If a user were to modify the geometric aspect of a shape of a certain parent class, the changes were to be propagated throughout children of that same parent class to avoid having to modify each shape individually. On the other hand, despite the fact that the visualization was to be generated in XML file format, it was decided to implement the P&ID shapes library in form a single, static JSON file. The library should be clear and easily human-readable, and the JSON format is ideal for this. JSON format allows for easier modification of the shapes in the library, either by directly modifying the JSON object literal, or by using free online tooling to parse and convert the JSON file into a tabular Microsoft Excel format, for even easier modification.

Implementation

The implementation details as to how exactly the shapes in the library were to be defined, came with the analysis of the mxGraphModel object. The mxGraphModel is implemented as a common XML object, which holds all what is required for the instantiation, definition, rendering and data bindings of visualizations. Departing from the XML file of a manually-built P&ID diagram of the example Aida Brewery, the schema was reverse engineered into a class diagram, from which the general structure of the XML objects for the graph and shape instances was derived to build the library. The library itself was progressively enhanced by adding features along the way as they were required, and it finally served as the basis for coding the client-side script for the generation of P&ID visualizations in form of a single XML files (refer to section 4.3). Figure 13 shows an overview of this abstraction process.




Figure Abstraction process from an example P&ID visualization into a class diagram of the general schema and concretion into an object-oriented P&ID shapes library.





Figure Schema of the P&ID shapes library JSON file.

Figure 14 depicts the schema of the P&ID shapes library JSON file and illustrates its rather flat and not deeply nested structure. The nesting was flattened in favor of greater portability and simplicity, since the library was to be contained in a single, static JSON file. Likewise, in favor of a simpler interface for the *object relational mapping (ORM)* between the physical plant instances fetched from the database and their matching P&ID shapes retrieved from the P&ID shapes library. Due to the size of the library and the individual classes, no global class diagram was created, only analyzed via online tooling to in order to derive the library.

The library consists of a single array of 478 objects, one for each P&ID Shape available from the default draw.io process engineering shapes library. Each object thus entirely defines the corresponding shape by means of those properties. These include an id, metadata, geometry, styling, size and positioning, by means of which all shapes in the library are distinctly defined. Important to note is that mxGraph automatically provides default values for non-passed attributes and for empty strings passed to attributes of the final XML object. This means, that certain properties remain empty string in the library, as there is no need to override the default value. Nonetheless, some properties do indeed override a default value in order to be instantiated in the final XML object of the shape to be rendered, to allow for data bindings to it for example.

As an example, the following JSON code snippet defines the shape for a process engineering valve of type gate with solenoid actuator and manual reset. This shape data is to be mapped to a corresponding physical plant instance, if any, to build a single object with joint geometric and plant instance data, from which the final XML object for the shape is to be generated to be included in the XML file of the corresponding P&ID visualization. All 478 are analogously defined in the library based on both geometrical and functional aspects.

**Example JSON Object: Solenoid Gate Valve with Manual Reset (shape below)**

{

    "\_id": "",

    "pidClass": "equipment",

    "shapeName": "gate\_valve\_(solenoid)",

    "shapeDomain": "mxgraph",

    "shapeClass": "pid2valves",

    "shapeCategory": "valve",

    "shapeType": "gate\_valve",

    "shapeSubtype": "(solenoid)",

    "shapePath": "mxgraph.pid2valves.valve",

    "shapeThumbnail": "images\\gate\_valve\_(solenoid).svg",

    "\_vertex": "1",

    "\_style": "verticalLabelPosition=bottom;align=center;html=1;verticalAlign=top;dashed=0;shape=mxgraph.pid2valves.valve;valveType=gate;actuator=solenoid; strokeColor=#000000;fontSize=18;fontColor=#000000;",

    "styleObject": {

        "shape": "shape=mxgraph.pid2valves.valve",

        "actuator": "actuator=solenoid",

        "valveType": "valveType=gate",

        "html": "html=1",

        "align": "align=center",

        "verticalLabelPosition": "verticalLabelPosition=bottom",

        "verticalAlign": "verticalAlign=top",

        "dashed": "dashed=0",

        "strokeColor": "strokeColor=#000000",

        "fontSize": "fontSize=18",

        "fontColor": "fontColor=#000000"

    },

    "\_parent": "1",

    "mxGeometry": {

        "\_relative": "0",

        "\_width": "100",

        "\_height": "100",

        "\_as": "geometry"

    }

}

In this way, each object in the library fully encapsulates all data needed for the correct instantiation of XML objects later by the visualization generating script, namely an id, metadata, geometry, styling, size and positioning. The object relational mapping of physical plant instances to shapes is done with a single attribute: shapeName. This means, that the only required modification to the database of the plant was a single field with the corresponding “shapeName” value for each physical instance (although more modifications where actually made to the database). The \_style property is defined by the mxGraph API itself and required in the final XML object of the shape. The \_style property takes in a string of semi-colon separated key-value pairs with all style such as shape type, fill color, font size and alignment for the corresponding shape. To facilitate the targeting and modification of individual style properties, the string was split into the styleObject, an object containing all key-value pairs.

* + 1. Real-time Data Binding to Process Variables

As previously mentioned, the generated P&ID visualization was to be in form of a single, static XML file and contain likewise static data bindings for the real-time dynamic rendering of process variables and styles. Moreover, the *Legato Graphic Designer* is responsible for loading and rendering the XML file and already implements an API for data binding to dynamic database values and a service for the automatic, real-time re-rendering on each change event. For this reason, the P&ID shapes library does not implement the data bindings, but only the static geometric definition of the shapes. Figure 17 shows two examples of the considered implementation of data bindings (more in section XXX).




Figure Example of considered possibilities for Boolean and int data bindings for valves.

1. Legato Dashboard – P&ID Viewer
   1. Software Architecture
      1. Requirements

Not surprisingly, the development of the dashboard for the *Legato Web Application* comprised most of the project requirements. The dashboard front-end consists of:

**R2:** User Friendly Graphical User Interface (GUI) Boardlet for Creation of P&ID Visualizations

On the other hand, the dashboard back-end consists of:

**R3:** Client-Side Script for the Automated P&ID Visualization Generation as an XML File

**R4:** Mapping of Physical Plant Instances to Corresponding Visualization Component

**R5:** Automatic Type Detection and Simplification of Connections

**R6:** Declarative specification of Graphing Constraints in Form of Tags

**R7:** P&ID Graphing Algorithm

**R8:** Dynamic Real-Time Display of Process Variables in the P&ID Visualization

Likewise, the project required:

**R9:** Prototypal Implementation in the Infrastructure of a MES (Legato Sapient®) and Documentation

The above requirements served to align the software solution to the goals of the project and ensure that all of them where satisfactory achieved by means of the developed solution.

* + 1. Alignment to the System Architecture

The design of the software architecture was greatly influenced by the constrains of the *Legato Sapient®* system architecture. Due to the relative freedom in the conception of the software solution for this project, aligning the software architecture to the system’s architecture and its context was required in order to ensure the quality of the solution to be developed. It is by means of the “big picture” of the system, including hardware and software, that the design of the software architecture was conceived. Figure 16 portrays this overview of the system architecture, from the client-side, through the server, and all the way to the plant level.




Figure Software Architecture Diagram.

* + 1. System Interactions

Figure 17 shows a detailed activity diagram of the system interactions and how they are implemented in the front- and back-end code. The GUI and the script or business logic run their corresponding activities entirely on the client, as does the local file system. On the other hand, the database queries for the physical plant instances require round trips to fetch the required data. Function blocks in blue corresponds to the presentational aspects of the graphical user interface and will be further detailed in section 4.2. Red function blocks on the other hand, correspond to the business logic to run on the client background for the P&ID generation and will be further detailed in section 4.3.






Figure UML 2.0 Software Activity Diagram.

* 1. Presentation Logic
     1. P&ID Creator Boardlet




DELETE ONE

Figure Responsive design of P&ID boardlet on page load, during and after P&ID generation (both for desktop and mobile).

Figure 18 shows the responsive design of the *P&ID Creator Boardlet* and its animations throughout the P&ID generation and carried out by the blue function blocks of figure 17. For smaller screens like mobile devices or when resizing browser window, the boardlet behaves responsively by adapting the download buttons to one on top of the other. The boardlet follows component-driven UI design principles, and is composed of even smaller, modular *Ember Components* which encapsulate both presentation and business logic in small bundles. These has many benefits for developers like code reusability, accelerated development times, UX consistency,

Upon page load (left), the boardlet renders with a file input button active, a node selector input field, which updates upon node selection of the Node Tree boardlet and all other buttons deactivated (checkToEnableButton). This ensures an intuitive user expierience (UX) and makes it easy for everyone to use the boardlet. After an appropriate JSON file of the P&ID shapes library and a root node is selected, and thus its name rendered in the text field (renderRootName), the “Generate P&ID Visualization” button activates, prompting the user to click it. On click (center) event, the script for the P&ID generation is called and a progress bar is shown (updateProgressBar), with the total number of plant instances to be modelled. The progress bar updates with a slight animation delay for each instantiated XML object. Finally, when the P&ID generation concludes, and all plant instances were instantiated as XML objects for shapes (right), the generated XML is rendered for user feedback and control and the download and upload buttons are activated (renderXml). From this point, the user can either re-generate the same or a new P&ID without the need of page reload by selecting a different root node and/or shapes library.

* + 1. P&ID Viewer Dashboard



UPDATE FOR MANUALLY MADE PID FOR SAMPLE

Figure P&ID Viewer Dashboard for the Aida Brewery (rendering a manually generated P&ID).

The Legato Web Application is made up of composable dashboards. These are built by pre-defined boardlet components, which can be drag-and-dropped in place and communicate with each other. Legato services for the communication between boardlets exist already and where used for the root node selection; Once a root node was selected on the Node Tree boardlet, it communicated the id of the selected root node to the *P&ID Creator Boardlet*, which next fetched the node data from the database via the id (SQL: SELECT \* WHERE id=pidRootNodeId), for example for the short\_name of the node to be displayed in the field. After uploading or manually downloading and saving the P&ID generation in the corresponding path on the server, the *P&ID Viewer Boardlet* automatically reads and re-renders the new or overwritten file.

* 1. Business Logic

The business logic functionality can be broken down into a series of sequential activities (equally numbered in figure 16):

1. User selection of the desired version of the P&ID shapes library JSON file (from either the local or server file system) and of root node for the visualization (from node tree boardlet)
2. Script is called upon click event of the “Generate P&ID” Button. This initiates the client-side sequence of function calls for the generation of the P&ID visualization while the selected JSON file is asynchronously read and loaded into a JS object for its later manipulation.
3. After the file is successfully loaded, the corresponding database queries of the physical plant instances (node and connection data) are carried out asynchronously. These responses are next loaded into JS objects, filtered and mapped with an *ORM*-function via the shapeName property to their corresponding shape in the library object. The function builds 2 new objects (pidNodes and pidConnections) by merging the physical plant instance data (from the database) and the data of its corresponding shape (from the shapes library).
4. The pidNodes and pidConnections objects are passed to the graphing algorithm, which consists of three sub steps:
   1. Build Hierarchy: Filter out non-descendants (if any) and builds hierarchical/nested JS object of the instance hierarchy via the parent attribute.
   2. Traverse and Sort: traverses the instance hierarchy with a post-order depth-first search (DFS) and returns the traversal path.
   3. Vertex Placement: determines positioning of vertices and sets the x and y properties of each.
5. Builds the XML P&ID visualization in form of a string using templating and recursion. This string contains all information for the proper rendering and data binding of the P&ID.
6. Download buttons (for JSON and XML file formats) and an upload button activate when P&ID generation is done. The *Legato Graphic Designer* boardlet automatically renders the XML file in the path and with the name configured in its settings.

For the sake of clarity, each activity will be examined separately and described in further detail isolated from the other activities. The interactions each activity has with others can be interpreted from figures 16 and 17.

* + 1. File and Root Node Selection

The file input is handled by the fileUploadComponent which encapsulates both presentation and business logic and exposes a simple API. The actual reading of the JSON file is handled by the loadSuccess and loadError functions, which are called on file input event, and parse the JSON file to a global JS object (pidShapesLibrary).

* + 1. Querying and Mapping Data




Figure Data Map of database tables queried for pidNodes and pidConnections.

Querying Data from Database

The data map for the required queries to the PostgreSQL relational database are shown in figure 20. As advised by the Legato internal documentation, a generic getData function was developed which dynamically creates the query filters and asynchronously fetches the data. The getData function encapsulates the getRecords function, providing a simple usage and can be re-used for all database queries through the specification of distinct query parameters with a simple if-statement (code lines 7-70). The queries are built using the following parameters which are then passed to the getRecords function (code lines 73-78):

**resource** – name of the database table

**alias** – an alias or short-name for tables to be queried

**fields** – the fields to be queried

**relate** – for joining several tables

**filter** – to filter out certain values

**nameMappings** – to map field names to keys for the final return object

Mapping Data to Objects

The nameMappings JS object handles the *object relational mapping* by cloning the response object to itself (code lines 81-89), thus translating the field names to more adequate variable names as specified in the code (code lines 43-69). Once the getRecords function asynchronously places the request in form of a promise, the code waits (unblocking) for the response object to be returned, to next continue with the .then statements. The databaseQueries function concludes once all queries succeed to next call the filterData function (next section).

1. **getData**: function(data) {
2. let resource, alias, fields, relate, filter;
3. let rootId = this.get('pidRootNodeId');
4. let nameMappings = [];
5. // Build query parameters dynamically (shown for pidNodes)
6. if (data === "pidRootNode") {...}
7. if (data === "pidConnections") {...}
8. if (data === "pidNodes") {
9. resource = "l\_nodes";
10. alias = { "n": "l\_nodes", "v": "prj\_prc\_visu\_vertices", "r": "p\_value\_relations",
11. "c": "p\_values\_config", "f": "sys\_value\_formats", "t": "p\_value\_types",
12. "u": "sys\_units"
13. };
14. fields = {
15. "n": "id, node\_level, parent, short\_name, name, attr\_jsonb",
16. "v": "id, node, is\_instrument, shape\_name, pid\_label, pid\_function, pid\_number",
17. "r": "id, node, value",
18. "c": "id as c\_id, value\_type, value\_format, unit, value\_symbol, name as c\_name",
19. "f": "id, name as f\_name",
20. "t": "id, name as t\_name",
21. "u": "id, name as u\_name, unit\_symbol"
22. };
23. relate = [
24. { "src": "n", "dst": "v", "how": "left", "on": { "src": "id", "dst": "node" } },
25. { "src": "n", "dst": "r", "how": "left", "on": { "src": "id", "dst": "node" } },
26. { "src": "r", "dst": "c", "how": "left", "on": { "src": "value", "dst": "id" } },
27. { "src": "c","dst": "f","how":"left","on": {"src": "value\_format","dst": "id"} },
28. { "src": "c","dst": "t","how": "left","on": {"src": "value\_type","dst": "id" } },
29. { "src": "c", "dst": "u", "how": "left", "on": { "src": "unit", "dst": "id" } }
30. ];
31. filter = {
32. "field": "n.id",
33. "op": "ge",
34. "val": this.get("pidRootNodeId")
35. };
36. nameMappings = [
37. // From l\_nodes:
38. { id: 'id' },  // {Int} Primary Key
39. { nodeLevel: 'node\_level' },  // {Int} Hierarchy level of node
40. { parentId: 'parent' },  // {Int} Id of parent in l\_nodes
41. { shortName: 'short\_name' }, // {String} Short name
42. { name: 'name' },  // {String} Long name
43. { details: 'attr\_jsonb' },  // {Int} Other details (jsonB format)
44. // From prj\_prc\_visu\_vertices:
45. { vId: 'id' },
46. // {Int} Primary Key
47. { isInstrument: 'is\_instrument' }, // {Bool}  User defined boolean
48. { shapeName: 'shape\_name' },  // {String} Shape Name (required!)
49. { pidLabel: 'pid\_label'   // {String} Optional label for shapes
50. { pidFunction: 'pid\_function' },  // {String} Instrument function
51. { pidNumber: 'pid\_number' },  // {String} Instrument number
52. // From p\_values\_config:
53. { cValueId: 'c\_id' }, // {Int} Primary Key of value
54. // From sys\_value\_formats
55. { fDataType: 'f\_name' },  // {String} Data type of value
56. // From p\_value\_types:
57. { tValueType: 't\_name' },  // {String} (limit,energy,air...)
58. // From sys\_units
59. { uUnitSymbol: 'unit\_symbol' },  // {String} (Nm,J,kPa,°C, ...)
60. { uName: 'u\_name' }, // {String} (Newton,Joule, ...)
61. { uFactor: 'factor' }  // {String} (1000, /1000, ...)
62. ];
63. }
64. let jsObject = [];
65. this.get('server').getRecords(resource, {
66. alias: alias,
67. fields: fields,
68. relate: relate,
69. filter: filter
70. }, undefined).then((result) => {
71. if (result.content.length > 0) {
72. let jsonClassArray = result.content;
73. // Build jsObject with only fields in corresponding model
74. jsonClassArray.forEach((row) => {
75. let object = {};
76. nameMappings.forEach((entry) => {
77. let attribute = Object.keys(entry);
78. let field = Object.values(entry);
79. object[attribute] = row[field];
80. }) jsObject.push(object);
81. });
82. }
83. }).then(() => {
84. // Set parsed jsObject to corresonding global varible (data)
85. this.set(data, jsObject);
86. }).then(() => {
87. // Render root name when pidRootNode is queried data
88. if ('pidRootNode' === data) this.renderRootName(this.get('pidRootNode'));
89. this.filterData(data);
90. });
91. }
    * 1. Filtering Queried Data

Due to complexity of the SQL query required to reclusively extract the complete hierarchy of a selected root node via its parent attribute, a workaround had to be developed. Instead of reclusively traversing through the selected root node’s relatives (all ascendants and descendants), a simpler filtered query is made to later filter the results definitively recursively with JavaScript with the filterData function (refer to figure 17). An overview of the filtering process from root node selection to is illustrated by figure 21.




Figure Overview of the filtering process.

The filtering of pidNodes and pidConnections is managed separately due to the distinct structure of the data object for pidNodes and pidConnections (refer to figure 20). On one hand, the getHierarchy function is passed the pidNodes object along with the selected root node to filter out all non-descendants of the pidRootNode. Additionally, during the level traversal, the function sets the pidLevel attribute to the objects metadata starting at pidLevel=0 for the pidRootNode. Afterwards, the returned pidNodes array is sorted in ascending pidLevel order by means of an anonymous *ES6 arrow function*.

On the other hand, the pidConnections must be filtered out in case that either the source or target is not found in the now filtered pidNodes object. The filterConnection function takes in the pidNodes and pidConnections objects and returns the filtered pidConnections object, which the simplifyConnections function next takes in.

The SysML model of the plant, and thus the database represents connections from port-to-port, instead of globally from source to parent, therefore intermediate ports must be collapsed. The simplifyConnections function achieves this for edges from and to groups (vertex.pidClass === 'group') by replacing both the preEdge and postEdge of that connection with a single, direct connection. Additionally, the function sets the parentId property of each simplified edge to the id of its source (required by mxGraph for the proper rendering of an edge). This means that the simplifiedId inherits all properties from the startEdge as well, which should nevertheless equal those of the endEdge. The functionality of the simplifyConnections function is analogous to clearing edge waypoints and is illustrated in figure21.



Figure Working principle of the simplifyConnections function.

Moreover, for the example Aida Brewery plant, only process flow where modelled. This means that contrary to nodes (equipment, instruments, arrows and groups), which are given a shapeName attribute in the database, the corresponding line shape for each connection must be determined by the script. Five process engineering classes exist, with the following pidClass values and an example shape:




Figure P&ID Shape Classes (pidClass).

Similarly, four distinct P&ID line shapes exist with the following shapeName values and visual appearances:



Figure P&ID Line Shapes (shapeName).

For this project, only pipe\_line–connections were required since only process flows were originally modelled. Nevertheless, a concept for the automatic identification of flow type was developed, to correspondingly set the shapeName attribute of each connection. The logic considers the pidClass of source and target nodes for each connection (after simplification) to determine the corresponding line type by means of an *adjacency matrix* of all possible relationships (table 2). Non-existent cases are greyed out but could be over-simplifications.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Source\Target | Equipment | Instrument | Group | Arrow |
| **Equipment** | P | P,S | P | P |
| **Instrument** | P | D | D | P |
| **Group** | P | D | P | P |
| **Arrow** | P | P | P | P |

Table The adjacency matrix of all possible flows between pidClasses.

The logic is indeed capable of identifying the shapeName based on the pidClass criteria but is limited to the accuracy of the *adjacency matrix,* which over-simplifies all possible relationships and misses out on many special cases. Still, the conceptual matrix which could eventually be further refined was implemented as seen in table 2.

* + 1. P&ID Generation

After the data is queried, mapped to JS objects and filtered, the generatePid function is called at the end of the simplifyConnections function. The generatePid function handles the calling of several functions for the creation of the P&ID. These functions, called in sequence within the generatePid function as shown by figure 17, are the following:

1. **buildHierarchy** – takes in a flat array (pidNodes) and builds a nested object via the parent attribute (pidNodesTree). Works even for more than one root node selections




Figure Input and output of buildHierarchy function.

1. **traverseAndSort** – takes in the pidNodesTree and traverses it (*post-order depth-first search*) via the children property (array) and overwrites it with the sorted path of traversed vertices (array of objects)




Figure Input and output of traverseAndSort function.

1. **mapNodesToShapes** – maps each node from pidNodes to its corresponding vertex shape (equipment, instruments, groups and arrows) and creates a pidVertex instance with joint pidNode and pidShape properties (all of them). For pidNodes without a shapeName (shapeName === “”) like groups, it determines and sets it according to the pidLevel
2. **mapConnectionsToShapes** – maps each connection from pidConnections to its corresponding edge shape (lines) and creates a pidEdge instance with joint pidConnection and pidShape properties (all of them). Additionally, implements the conceptual logic to determine and set shapeName property for lines (described in previous section)
3. **vertexPlacement** – takes in pidVertices and pidEdges and loops through each pidVertex to set the \_x ad \_y properties of the mxGeometry property of each (described in detail in chapter 5)
4. **stringify** – converts the pidJson object to a string
5. **generatePidXmlString** – generates the XML string of the visualization by looping through the pidJson instances and creating each XML object individually for each (described in detail in section 4.3.5)
6. **renderXml** – takes in the pidXmlstring and renders it in the text-box of the P&ID Viewer boardlet (calls formatXml and escapeToHtmlValid functions internally)

Analogous to a typical main()-function, the generatePid function serves to call functions declared elsewhere (code lines 2-12) and additionally for presentational logic (not shown below). The function calls serve for easier unit-testing of the individual functions during development. Excerpts of this function are shown below:

1. **generatePid**:   function()  {
2. this.set('pidNodesTree',  this.buildHierarchy(this.get('pidNodes')));
3. this.set('pidNodesInOrder',  this.traverseAndSort(this.get('pidNodesTree')));
4. this.set('pidVertices',  this.mapNodesToShapes());
5. this.set('pidEdges',  this.mapConnectionsToShapes());
6. this.set('pidJson',this.vertexPlacement(this.get('pidVertices'), this.get('pidEdges')));
7. this.set('pidJsonString',  JSON.stringify(this.get('pidJson')));
8. this.set('pidXmlString',  this.generatePidXmlString(this.get('pidJson')));
9. this.set('loading',  false);
10. this.renderXml(this.get('pidXmlString'));
11. this.resetGlobalVariables();
12. this.checkToEnableButton();
13. }
    * 1. XML String Generation

Structure of the XML to be Generated

The following code shows the general structure of the pidXmlString to be generated. The values in blue are all default values. Still, they can be directly changed from the template’s code if the user desires to change the background color or to show a grid for example. In addition to the mxGraphModel, root, and first to mxCell objects, which are boilerplate for the graph, two sample shapes (with no property values) are shown. The number of xml objects after the generation corresponds to the number of mapped instances to shapes. These properties are to be filled-out dynamically with the corresponding variable for each shape using *ES6 template literals*.

**<!— Sample structure of a P&ID visualization in XML format -->**

**<mxGraphModel** dx="0" dy="0" grid="0" gridSize="10" guides="1" tooltips="1" connect="1" arrows="1" fold="1" page="1" pageScale="1" pageWidth="1654" pageHeight="1169" background="#ffffff" math="0" shadow="0"**>**

**<root>**

**<mxCell** id="0"**/>**

**<mxCell** id="1" parent="0"**/>**

**<object** id label placeholders pid-label pid-current-value pid-function pid-number sapient-bind**>**

**<mxCell** style vertex connectable parent**>**

**<mxGeometry** x y width height as**>**

**</mxGeometry>**

**</mxCell>**

**</object>**

**<object** id label placeholders pid-label pid-current-value pid-function pid-number sapient-bind**>**

**<mxCell** style vertex connectable parent**>**

**<mxGeometry** x y width height as**>**

**</mxGeometry>**

**</mxCell>**

**</object>**

**. . .**

**</mxCell>**

**</object>**

**</root>**

**</mxGraphModel>**

Templates for the XML Generation

The generatePidXmlString function (refer to figure 17) iterates over the pidJson object to build a unique XML object for each shape. It does so by inserting the variable’s value in the corresponding location in the template. The function implements a distinct template for each of the five shape classes (pidClass) since the XML objects must be composed of distinct combinations and logic. The following code shows the template code for the boilerplate and equipment shapes (pidClass=”equipment”):

**generatePidXmlString**: **function** (pidJson) {

**const** graphSettings = { dx: 0, dy: 0, grid: 0, gridSize: 10, guides: 1, tooltips: 1, connect: 1, arrows: 1, fold: 1, page: 0, pageScale: 1, pageWidth: 1654, pageHeight: 1169, background: 'none', math: 0, shadow: 0, defaultPadding: 15 };

*// Builds an HTML-escaped label*

**const** htmlLabel = `&lt;b&gt;%pid-label%&lt;br&gt;&lt;span style=&quot;background-color: rgb(0 , 255 , 0)&quot;&gt;&lt;font color=&quot;#ffffff&quot;&gt;&amp;nbsp;%sapient-bind%&amp;nbsp;&lt;/font&gt;&lt;/span&gt;&lt;/b&gt;&lt;br&gt;`;

*// Add mxGraph and mxGraphModel boilerplate settings*

**let** xmlString = `

**<mxGraphModel** dx="${graphSettings.dx}" dy="${graphSettings.dy}" grid="${graphSettings.grid}" gridSize="${graphSettings.gridSize}" guides="${graphSettings.guides}" tooltips="${graphSettings.tooltips}" connect="${graphSettings.connect}" arrows="${graphSettings.arrows}" fold="${graphSettings.fold}" page="${graphSettings.page}" pageScale="${graphSettings.pageScale}" pageWidth="${graphSettings.pageWidth}" pageHeight="${graphSettings.pageHeight}" background="${graphSettings.background}" math="${graphSettings.math}" shadow="${graphSettings.shadow}"**>**

**<root>**

**<mxCell** id="0"**/>**

**<mxCell** id="1" parent="0"**/>`;**

*// Add vertices:*

**const** equipmentCount = pidEquipments.length;

console.log(`Generating XML-tags **for** ${equipmentCount} equipment instances...`);

pidEquipments.forEach((pidEquipment) => {

xmlString += `

**<object** id="${pidEquipment.id ? pidEquipment.id : pidEquipment.\_id}" label="${pidEquipment.\_value !== '' ?

pidEquipment.\_value : htmlLabel}" placeholders="1" pid-label=

"${pidEquipment.pidLabel ? pidEquipment.pidLabel : (pidEquipment.shortName ? pidEquipment.shortName : (pidEquipment.name ? pidEquipment.name : null))}" pid-current-value="" pid-function=

"${pidEquipment.pidFunction}" pid-number=

"${pidEquipment.pidNumber}" sapient-bind=

${this.getSapientBind(pidEquipment)}"**>**

<**mxCell**

style="${this.concatenateStyles(pidEquipment.styleObject)}" vertex="${pidEquipment.\_vertex}" connectable="1" parent="${0 === pidEquipment.pidLevel ? 1 : pidEquipment.parentId}">

<**mxGeometry** x="${pidEquipment.mxGeometry.\_x ? pidEquipment.mxGeometry.\_x : 50}" y="${pidEquipment.mxGeometry.\_y ? pidEquipment.mxGeometry.\_y : 50}" width="${pidEquipment.mxGeometry.\_width}" height="${pidEquipment.mxGeometry.\_height}"

as="${pidEquipment.mxGeometry.\_as}"**></mxGeometry>**

**</mxCell>**

**</object>`;**

});

*// Add boilerplate closing tags*

xmlString += `

**</root>**

**</mxGraphModel>`;**

console.log('pidXmlString');

console.log(xmlString);

console.groupEnd();

console.groupEnd();

**return** xmlString;

},

Properties of the XML Objects

For the sake of clarity, table 3 summarizes the properties each templates takes in out of all available properties for each pidVertex and/or pidEdge instance. Properties of mxGraph objects should be private. As JavaScript does not allow the declaring of private properties, such properties are preceeded by an underscore (e.g. \_id, \_style, \_vertex, etc.) in the P&ID shapes library JSON file to distinguish from non-mxGraph properties (e.g. shapeCategory, shapePath, shapeThumbnail, etc.). Table 4 also displays them with an underscore. Nevertheless, all properties are instanciated without an underscore by the template, as is required by the XML to be read by the mxGraph API loader.

A checkmark in the “Implemented by Templates for” columns means that the property is indeed recursively instanciated with its value for each pidVertex and/or pidEdge instance. This does not mean that all shapes have a non-empty value. In many cases, shapes of the same pidClass have distinct sets of non-empty properties, but the library contains all possible properties nonetheless, with empty-string values if property is not relevant. For this reason, the properties are instanciated equal to empty-strings in the XML object by the template. The P&ID shapes library abstracts the geometrical definition of shapes, thus, it is not necessary to go in more detail than this as to which shapes require which properties.

For each iteration, the \_style property is passed the return value of the concatenateStyles(styleObject), which stringifies the in library configurable styleObject to a semi-colon separated string of key-value pairs. Table 4 breaks down the styleObject to its composing properties as was done in table 3 for each XML object.

**SL**: shape library (default static value)

**SC**: source code (dynamically generated value with code)

**DB**: database (static value fetched from database)

**B**: Boilerplate, **E**: Equipment, **I**: Instruments, **A**: Arrows, **G**: Groups, **L**: Line.

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **XML Object** | **Property** | **Description** | **Src** | **Implemented by Templates for** | | | | | |
| **B** | **E** | **I** | **A** | **G** | **L** |
| **<mxGraphModel>** |  |  |  |  |  |  |  |  |  |
| (graph configurations) | \_dx | Specifies x-coordinate of translation/shift (either absolute or relative from parent) | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| \_dy | Specifies y-coordinate of translation/shift (either absolute or relative from parent) | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| \_grid | Boolean (1/0) to activate/deactivate grid | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| \_gridSize | Sets size of grid measures | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| \_tooltips | Boolean (1/0) to activate/deactivate tooltips | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| \_connect | Boolean (1/0) to set if connectable or not | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| \_arrows | Boolean (1/0) to activate/deactivate arrows | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| \_fold | Boolean (1/0) to activate/deactivate folding | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| \_page | Boolean (1/0) to set if page view or not | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| \_pageScale | Number to set page scaling | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| \_pageWidth | Number to set width of page | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| \_pageHeight | Number to set height of page | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| \_background | Color in hexadecimal to set background color | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| \_math | Boolean (1/0) to activate/deactivate math | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| \_shadow | Boolean (1/0) to activate/deactivate shadow | SC | **✓** | **-** | **-** | **-** | **-** | **-** |
| **<root>** |  |  |  |  |  |  |  |  |  |
| **<object>** |  |  |  |  |  |  |  |  |  |
| (data-binding and labels) | \_id | Unique reference to itself | DB | **-** | **✓** | **✓** | **✓** | **✓** | **✓** |
| label | HTML-escaped string template for shape label | SC | **-** | **✓** | **✓** | **✓** | **✓** | **✓** |
| placeholders | Boolean (1/0) to activate/deactivate placeholders | SC | **-** | **✓** | **✓** | **✓** | **✓** | **✓** |
| pid-label | Dynamically generated and set inside label | SC | **-** | **✓** | **✓** | **✓** | **✓** | **✓** |
| pid-current-value | Default current value for empty string values | SC | **-** | **✓** | **✓** | **✓** | **✓** | **✓** |
| pid-function | Instrument process engineering function | SC | **-** | **✓** | **✓** | **✓** | **✓** | **✓** |
| pid-number | Instrument identification number | SC | **-** | **✓** | **✓** | **✓** | **✓** | **✓** |
| sapient-bind\* | JSON string with data bindings to legato DB | SC |  | **✓** | **✓** | **✓** | **✓** | **✓** |
| (shape metadata) | shapeDomain | Shape domain in the draw.io standard library | SL | **-** |  |  |  |  |  |
| shapeClass | Shape class in the draw.io standard library | SL | **-** |  |  |  |  |  |
| shapeCategory | Shape category in the draw.io standard library | SL | **-** |  |  |  |  |  |
| shapeType | Shape type in in the draw.io standard library | SL | **-** |  |  |  |  |  |
| shapeSubtype | Shape subtype in the draw.io standard library | SL | **-** |  |  |  |  |  |
| shapePath | Shape path (concatenated shape metadata attributes) | SL | **-** |  |  |  |  |  |
| shapeThumbnail | File path to thumbnail for image embeeding without mxGraph Viewer | SL | **-** |  |  |  |  |  |
| **<mxCell>** |  |  |  |  |  |  |  |  |  |
| (cell properties) | \_style\*\* | String with semi-colon separated style properties built by the in-loop function call to concatenateStyles(styleObject) | SL | **-** | **✓** | **✓** | **✓** | **✓** | **✓** |
| \_vertex | Boolean (1/0) sets if vertex or not | SL | **-** | **✓** | **✓** | **✓** | **✓** |  |
| \_edge | Boolean (1/0) sets if edge or not | SL | **-** |  |  |  |  | **✓** |
| \_value | HTML value for mxGraph label implementation (overwrites label) | SL | **-** |  |  |  |  |  |
| \_connectable | Boolean (1/0) sets if edges can connect to shape | SL | **-** | **✓** | **✓** | **✓** | **✓** | **✓** |
| \_visible | Boolean (1/0) sets if visible or not | SL | **-** |  |  |  |  |  |
| \_collapsed | Boolean (1/0) sets if collapsed or not (groups) | SL | **-** |  |  |  |  |  |
| \_source | Reference to the source shape of edge (port) | SL | **-** |  |  |  |  | **✓** |
| \_target | Reference to the target shape of edge (port) | SL | **-** |  |  |  |  | **✓** |
| \_parent | Implements hierarcichal relationship (important for proper rendering and shape positioning relative to parent) | SL | **-** | **✓** | **✓** | **✓** | **✓** | **✓** |
| \_children | An array to hold children cells | SL | **-** |  |  |  |  |  |
| \_edges | An array to hold edges | SL | **-** |  |  |  |  |  |
| \_mxTransient | Array of members not to be cloned by clone | SL | **-** |  |  |  |  |  |
| **<mxGeometry>** |  |  | SL |  |  |  |  |  |  |
| (size and positioning) | \_relative | Boolean (1/0) to set mxCell positioning to absolute or relative to parent |  | **-** |  |  |  |  | **✓** |
| \_x | Number to set x-coordinate (position) | SC | **-** | **✓** | **✓** | **✓** | **✓** |  |
| \_y | Number to set y-coordinate (position) | SC | **-** | **✓** | **✓** | **✓** | **✓** |  |
| \_width | Number to set width of shape | SL | **-** | **✓** | **✓** | **✓** | **✓** |  |
| \_height | Number to set height of shape | SL | **-** | **✓** | **✓** | **✓** | **✓** |  |
| \_as | Sets geometry type (default is “geometry”) | SL | **-** | **✓** | **✓** | **✓** | **✓** | **✓** |
| **<mxPoint>** |  |  |  |  |  |  |  |  |  |
| (edge waypoints) | \_x | Number to set x-coordinate (position) | SC | **-** |  |  |  |  |  |
| \_y | Number to set y-coordinate (position) | SC | **-** |  |  |  |  |  |
| \_as | Sets geometry type (default is “geometry”) | SC | **-** |  |  |  |  |  |

Table Overview of all attributes and those implementend in the XML templates.

.

|  |  |  |  |
| --- | --- | --- | --- |
| **JS Object** | **Property** | **Description** | **Src** |
|
| **styleObject** |  |  |  |
| (all) | shape | Name of shape (maps to shapeName property from database) | SL |
| (equipment) | actuator | Type of actuator (manual, pneumatic, etc.) | SL |
| direction | Direction of shape | SL |
| fanType | Type of fan (for fans) | SL |
| (equipment) | columnType | Type of column (for columns) | SL |
| valveType | Type of valve (for valves) | SL |
| defState | Default state for valve (closed/open) | SL |
| actuator | Type of actuator (for valves) | SL |
| (instruments) | mounting | Location of mounting (room, local, field, etc.) | SL |
| overflow | Overflow value for instruments (fill) | SL |
| indType | (inst, ctrl func, plc) | SL |
| (arrows) | dy | Geometry of arrow point (y-offset) | SL |
| dx | Geometry of arrow point (x-offset) | SL |
| notch | Angle of arrow point | SL |
| (groups) | group | Sets if group or not (for \_vertex=1 shapes) | SL |
| container | Sets if group is container for other cells or not | SL |
| (lines) | edgeStyle | Style of edge geometry (straight, orghogonal, rounded, etc.) | SL |
| exitX | x-coordinate position of source connection | SL |
| exitY | y-coordinate position of source connection | SL |
| entryX | x-coordinate position of target connection | SL |
| entryY | y-coordinate position of target connection | SL |
| startArrow | Arrow type of starting edge (source) | SL |
| startFill | Arrow color fill of starting edge (source) | SL |
| startSize | Arrow size of starting edge (source) | SL |
| endArrow | Arrow type of ending edge (target) | SL |
| endFill | Arrow color fill of ending edge (target) | SL |
| endSize | Arrow size of ending edge (target) | SL |
| jettySize | Sets if jetty size should be used or not | SL |
| orthogonalLoop | Activates/deactivates orthogonal loops | SL |
| (all) | html | Boolean (1/0) activates/deactivates html set in \_value property of mxCell | SL |
| align | Sets the horizontal alignment of the html | SL |
| verticalLabelPosition | Sets the vertical alignment of the label | SL |
| verticalAlign | Sets the vertical alignment of the html | SL |
| labelPosition | Sets the horizontal alignment of the label | SL |
| dashed | Sets if stroke/border should be dashed or not | SL |
| dashPattern | Sets dash pattern | SL |
| strokeColor | Sets color of stroke/border | SL |
| strokeWidth | Sets width of stroke/border | SL |
| fillColor | Sets fill color of mxCell | SL |
| fontSize | Sets fontSize of label | SL |
| fontColor | Sets fontColor of label | SL |
| rotation | Sets rotation of mxCell (0, 90, 180, 360, etc.) | SL |

Table Detailed decomposition of the styleObject.

1. P&ID Graphing Algorithm
   1. Overview

This section will explain the intricacies and working principle of the vertexPlacement function mentioned previously in section 4.3.4. The vertexPlacement function encapsulates the P&ID graphing algorithm code entirely. Code snippets and diagrams will be presented to aid in the explanation, as the functioin itself spans over several hundred lines, too many to be presented in significantly long snippets in this document.

Requirements

Simplicity over efficiency of the algorithm as to allow later improvements and since the creation of P&ID visualizations is not time critical

Algorithm concept for P&ID visualizations works no matter the complexity of the modelled process engineering plant

Optimal packing of the P&ID visualization for limited screen sizes

Ability of progressively enhancing the algorithm for creation of better and more complex visualizations without change in concept

Implementation of the algorithm for the example Aida Brewery plant

Encountered Issues

Inconsistencies in the plant instance hierarchy (model) such as groups containing groups but also shapes as children.

Leads to Irregular Placement in the majority of cases what in turn leads to the needs too much logic

Relative positioning sometimes suboptimal, but still the best alternative

Much effort and little progress in improving the algorithm

Solutions (in part):

Specification of Constraints allows logic to be programmed specifically

Constraints also allow progressive enhancement

Block packing algorithm is an optimal solution for P&ID diagrams if all children are groups (rectangular blocks). Not for shapes.

Graphing settings implemented as parameters allow for fine tuning of the algorithm

Specification of constraints as tags (loosely coupled to positioning logic)

Vertex positioning based on declarative constraints and/or rules

* + 1. Specification of Constraints





Table UML 2.0 activity diagram of constraint specification.



* + 1. Vertex Placement

Probleme:

Inkonsistenzen in das Model (Instance Hierarchy) wie z.B. Gruppen die Gruppen aber auch Shapes enthalten.

Führt zu Irreguläre Platzierung in die Mehrheit der Fälle  braucht zu viel Logik.

Relative positionierung deswegen manchmal suboptimal, aber trotzdem die beste Alternative

Viel Aufwand und wenig Fortschritt bei der Verbesserung des Algorithmus.

Lösungen (zum Teil):

Specification of Constraints erlaubt Logik gezielt zu programmieren

Constraints erlauben auch das progressive Enhancement

Block packing algorithm ist eine optimale Lösung für P&ID Diagramme falls alle children Gruppen sind (rechteckige Blocks). Nicht aber für shapes.



Figure Geometry between neighboring vertices.




Figure Relative positioning of vertices.





Figure 29 Vertex placement working principle for example pressurized vessel.






Figure 30 [ACTIVITY DIAGRAM OF SPECIFICATION OF CONSTRAINTS]









Figure 31[ACTIVITY DIAGRAM OF VERTEX PLACEMENT ALGORITHM WITH CONSTRAINTS]

* Fine Tuning of Parameters
* Group Placement (#innerGroup, #OuterGroup) algorithm: <https://codeincomplete.com/posts/bin-packing/>
* Orthogonal packing of rectangles in auto-scaling containing group.
* TRIALS WITH THE DEMO WITH ALL SORT SETTINGS: (best results with maxside) RECREATE THE GRAPHICS FROM BELLOW IN DRAW IO









Figure In browser console log table of final pidVertices.



1. Verification, Validation and Evaluation
   1. Definitions






Figure 33 V-Model for Software Verification and Validation

* Stillstand beim vertexPlacement Algorithmus 🡪 fix bugs, then leave as is
  + Alles wofür es eine bestimmte Logik dahinter gibt, wird schon entsprechend dieser Logik platziert.
  + Nich viel mehr Logik um das Platzierungsalgorithmus in wenig Zeit noch zu verbessern.
  + Verbesserungen machen manchmal andere Teilen von Code kaputt.
  + Bugs im Algorithmus in Boardlet Script (nicht im Testing Boardlet).
  + Vorteile:
    - Konzentration auf Data-bindings (dynamisierung)
    - Verteci schon ziemlich gut platziert und edges vereinfacht
    - Verbesserungsmöglichkeiten direkt im draw.io (Drag&Drop)
  + Nachteile:
    - Platzierung ist das Endergebniss und alles was man am Ende sieht
    - Arbeit und Aufwand die hinter die Visualisierung sieht man nicht
    - Kann zu enttäuschenden Schlussfolgerungen bezüglich des Projekts führen
* Bug wenn selectierte rootNode nicht AidaCruises 🡪 fix
* Animations und Data Bindings
  + Process Variables noch nicht im Datenbank vorhanden 🡪 Animationen nur als Konzept
  + Model wird sowieso nur booleans enthalten 🡪 Konzept für andere Data Types oder nicht ?
    1. Verification
    2. Validation
    3. Evaluation



* 1. Prototypical Implementation in an Industrial Context

For Commercial Deployment and Industrial Application









Figure Preview Dashboard in Legato Web Application.

1. Synopsis

List of Figures

[Figure 1 Software life cycles in comparison and the rise in its importance for present day industrial plants Source: Lehrstuhl AIS TUM 3](#_Toc523523315)

[Figure 2 Scope of the bachelor thesis within the applications of control engineering. Source: Automatisierungstechnik 1 Chair for Automation and Information Systems TUM 2](#_Toc523523316)

[Figure 3 Decentralization of traditional automation from a hierarchical structure via Cyber Physical Systems (CPS) 3](#_Toc523523317)

[Figure 4 Correlation of Plant Hierarchy Model according to ISA-95 and Procedural Control and Process Models according to ISA-88 in form of a class diagram with the scope of this project in yellow. 4](#_Toc523523318)

[Figure 5 An example Piping and Instrumentation Diagram of an evaporative crystallizer. Source: Wikipedia 6](#_Toc523523319)

[Figure 6 General P&ID instrument or function symbols according to ISA S5.1 8](#_Toc523523320)

[Figure 7 Legato Sapient® Software Architecture leverages the web platform to offer a fully-fledged MES Software as a Service (SaaS) solution. Photo from GEFASOFT 11](#_Toc523523321)

[Figure 8 UML 2.0 diagram hierarchy shown as a class diagram, with graph types used throughout this writing in yellow. 16](#_Toc523523322)

[Figure 9 Class diagram of possible types of data an edge can acquire. Source: sixsigma-institute.org 18](#_Toc523523323)

[Figure 10 Types of graphs (categorized based on their relationships) relevant to this project and their corresponding adjacency matrices. Source: EMBL-EBI 19](#_Toc523523324)

[Figure 11 A simple graph G=(V,E) with |V|=4 and |E|=3 as laid out using the four main graph layout algorithm strategies relevant to this project. 22](#_Toc523523325)

[Figure 12 Overview of relationship between plant model instances (green), P&ID shapes (blue) and mxGraph API (purple) in form of a UML 2.0 class diagram. 26](#_Toc523523326)

[Figure 13 Abstraction process from an example P&ID visualization into a class diagram of the general schema and concretion into an object-oriented P&ID shapes library. 28](#_Toc523523327)

[Figure 14 Schema of the P&ID shapes library JSON file. 28](#_Toc523523328)

[Figure 15 Example of considered possibilities for boolean and int data bindings for valves. 31](#_Toc523523329)

[Figure 16 Overview of system architecture (software and hardware) from the client-side, through the server-side and all the way to the plant level. **Error! Bookmark not defined.**](#_Toc523523330)

[Figure 17 [INSERT CAPTION HERE] 44](#_Toc523523331)

[Figure 18 [ACTIVITY DIAGRAM OF SPECIFICATION OF CONSTRAINTS] 45](#_Toc523523332)

[Figure 19[ACTIVITY DIAGRAM OF VERTEX PLACEMENT ALGORITHM WITH CONSTRAINTS] 45](#_Toc523523333)

[Figure 20 V-Model for Software Verifikation and Validation 48](#_Toc523523334)

List of Tables

[Table 1 Overview of related works 23](#_Toc523523355)

[Table 2 [QUITAR POR QUE EL LINE TIPE EN REALIDAD SE DEBE ESPECIFICAR EN EL MODEL, NO TENGO QUE HABLAR DE ESTE FALLBACK POR QUE YA VA MAS ALLA DE MI BA] 40](#_Toc523523356)

Abbreviations

|  |  |
| --- | --- |
| Abbreviation | Description |
|  |  |
| API | Application Programming Interface |
| GUI | Graphical User Interface |
| ISA | International Society of Automation |
| SVG | Scalable Vector Graphics |
| MES | Manufacturing Execution System |
| ORM | Object Relational Mapping |
| ProcAppCom | Process Application Composer |
| PCS | Process Control System |
| UML | Unified Modelling Language |
| SysML | Systems Modelling Language |
| UML-PA | Unified Modelling Language for Process Automation |
| JS | JavaScript |
| JSON | JavaScript Object Notation |
| VDI | Verein Deutscher Ingenieure |
| XML | Extensible Markup Language |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |

1. Bibliography

[1]

[2]

[3]<https://ac.els-cdn.com/S2405896317314921/1-s2.0-S2405896317314921-main.pdf?_tid=6de94709-7dc6-4269-beb0-fac1338b7c82&acdnat=1532269678_c4b89c7b4e187d7595218b0a1fe60b22>

[4]<https://ac.els-cdn.com/S1474667016434671/1-s2.0-S1474667016434671-main.pdf?_tid=f5714d82-fd23-4d7d-901b-89b13e70dd5b&acdnat=1532269602_0022f42b4de6b59dd533fb07b008d28e>

[5]<https://patentimages.storage.googleapis.com/d2/51/b7/d2fff3397660d9/US20040230328A1.pdf>

[6] <https://pubs.acs.org/doi/pdfplus/10.1021/ie020644a>

[7] <https://ieeexplore.ieee.org/abstract/document/5415229/>

[8]<https://ac.els-cdn.com/S0951832013002433/1-s2.0-S0951832013002433-main.pdf?_tid=86339899-bf4d-4070-b990-5b5512119412&acdnat=1532289234_12ee529d873799f27b7de9a90910e9fb>

[9] <https://link.springer.com/content/pdf/10.1007%2F978-3-642-37057-1_19.pdf>

[10]<https://patentimages.storage.googleapis.com/a9/d3/e4/754ea4055b3871/US20070150821A1.pdf>

[11] <https://slideplayer.com/slide/12488750/> USADO EN EL CAPITULO 2.5.3 2.5.3 (Software Implementation of Graph Visualizations)

[12] <https://www.hsu-hh.de/aut/forschung/forschungsthemen/ontology-engineering-for-collaborative-embedded-systems/ontology-design-patterns-for-the-manufacturing-domain/vdi-3682-formalized-process-description>