## anlagenkomponenten
Site | Area | Cell | Unit | EModule | CModule | PIDClass (blue) | PIDSubclass(orange) | PIDSubclass (yellow, in list) | number | in original PFD | PFDLabel1 (PCE-Kategorie/Funktion) | PFDLabel2 (PCE-Stellenkennzeichnung) | OPCUA: | port | nsName | nsPrefix | ipconfig | address | Variables:
Aida |  | Brewhouse | [8 empty] | (instruments) | (instruments) | [6 empty] | Brewhouse_5
Aida | Brewery | Brewhouse | Lauter_kettle | Water_injection | Control_valve_440 | Valve |  | Control_valve | 1 | yes | - | - | [6 empty] | Control_valve_440_8
Aida | Brewery | Brewhouse | Lauter_kettle | Water_injection | Pump_P40 | Pump |  | Pump | 2 | yes | P40 | - | [6 empty] | Pump_P40_9
Aida | Brewery | Brewhouse | Lauter_kettle | Vessel | Motor | Motor |  | Motor | 3 | yes | - | - | [6 empty] | Motor_11
Aida | Brewery | Brewhouse | Lauter_kettle | Vessel | Kettle_sensor_Z | Instrument | Indicator |  | 4 | yes | ZS | 4000 | [6 empty] | Kettle_sensor_Z_12
Aida | Brewery | Brewhouse | Lauter_kettle | Vessel | Kettle_sensor_T | Instrument | Indicator | Temperature_Element | 5 | yes | TE | 4000 | [6 empty] | Kettle_sensor_T_13
Aida | Brewery | Brewhouse | Mash_pan | Waste_gas_cooling | Control_valve_550 | Valve |  | Control_valve | 6 | yes | - | - | [6 empty] | Control_valve_550_17
Aida | Brewery | Brewhouse | Mash_pan | Waste_gas_cooling | Compressor | Compresssor |  | Compresor | 7 | yes | C10 | - | [6 empty] | Compressor_18
Aida | Brewery | Brewhouse | Mash_pan | Vessel | Motor | Motor |  | Motor | 8 | yes | - | - | [6 empty] | Motor_20
Aida | Brewery | Brewhouse | Mash_pan | Vessel | Kettle_sensor_L | Instrument | Indicator |  | 9 | no | LS | 1000 | [6 empty] | Kettle_sensor_L_21
Aida | Brewery | Brewhouse | Mash_pan | Vessel | Kettle_sensor_Z | Instrument | Indicator | Binary | 10 | no | ZS | 1000 | [6 empty] | Kettle_sensor_Z_22
Aida | Brewery | Brewhouse | Mash_pan | Vessel | Kettle_sensor_T | Instrument | Indicator | Temperature_Element | 11 | no | TE | 1000 | [6 empty] | Kettle_sensor_T_24
Aida | Brewery | Brewhouse | Mash_pan | Steam_heating | Control_valve_420 | Valve |  | Control_valve | 12 | yes | [8 empty] | Control_valve_420_26
Aida | Brewery | Brewhouse | Mash_pan | Steam_heating | Control_valve_410 | Valve |  | Control_valve | 13 | yes | [8 empty] | Control_valve_410_27
Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_160 | Valve |  | Control_valve | 14 | [9 empty] | Control_valve_160_31
Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_170 | Valve |  | Control_valve | 15 | [9 empty] | Control_valve_170_32
Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_150 | Valve |  | Control_valve | 16 | [9 empty] | Control_valve_150_33
Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_220 | Valve |  | Control_valve | 17 | [9 empty] | Control_valve_220_34
Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_360 | Valve |  | Control_valve | 18 | [9 empty] | Control_valve_360_35
Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_320 | Valve |  | Control_valve | 19 | [9 empty] | Control_valve_320_36
Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_130 | Valve |  | Control_valve | 20 | [9 empty] | Control_valve_130_37
Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_140 | Valve |  | Control_valve | 21 | [9 empty] | Control_valve_140_38
Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_120 | Valve |  | Control_valve | 22 | [9 empty] | Control_valve_120_39
Aida | Brewery | Brewhouse | Pump_station | Outlet | Sensor_flow |  |  |  | 23 | [9 empty] | Sensor_flow_40
Aida | Brewery | Brewhouse | Pump_station | Outlet | Valve_BELIMO |  |  |  | 24 | [9 empty] | Valve_BELIMO_41
Aida | Brewery | Brewhouse | Pump_station | Inlet | Control_valve_110 | Valve |  | Control_valve | 25 | [9 empty] | Control_valve_110_43
Aida | Brewery | Brewhouse | Pump_station | Inlet | Control_valve_020 | Valve |  | Control_valve | 26 | [9 empty] | Control_valve_020_44
Aida | Brewery | Brewhouse | Pump_station | Inlet | Control_valve_040 | Valve |  | Control_valve | 27 | [9 empty] | Control_valve_040_45
Aida | Brewery | Brewhouse | Pump_station | Inlet | Control_valve_030 | Valve |  | Control_valve | 28 | [9 empty] | Control_valve_030_46
Aida | Brewery | Brewhouse | Pump_station | Inlet | Control_valve_010 | Valve |  | Control_valve | 29 | [9 empty] | Control_valve_010_47
Aida | Brewery | Brewhouse | Pump_station | Inlet | Control_valve_580 | Valve |  | Control_valve | 30 | [9 empty] | Control_valve_580_49
Aida | Brewery | Brewhouse | Pump_station | Inlet | Pump_P30 |  |  | Pump | 31 | [9 empty] | Pump_P30_50
Aida | Brewery | Brewhouse | Water_supply | Cold_water_distribution | Control_valve_560 | Valve |  | Control_valve | 32 | [9 empty] | Control_valve_560_53
Aida | Brewery | Brewhouse | Water_supply | Mixing_valve | Control_valve_310 | Valve |  | Control_valve | 33 | [9 empty] | Control_valve_310_55
Aida | Brewery | Brewhouse | Water_supply | Mixing_valve | Three_way_tap |  |  |  | 34 | [9 empty] | Three_way_tap_56
Aida | Brewery | Brewhouse | Water_supply | Mixing_valve | Sensor_flow |  |  |  | 35 | [9 empty] | Sensor_flow_57
Aida | Brewery | Brewhouse | Water_supply | Mixed_water_distribution | Control_valve_340 | Valve |  | Control_valve | 36 | [9 empty] | Control_valve_340_59
Aida | Brewery | Brewhouse | Water_supply | Mixed_water_distribution | Control_valve_350 | Valve |  | Control_valve | 37 | [9 empty] | Control_valve_350_60
Aida | Brewery | Brewhouse | Water_supply | Mixed_water_distribution | Control_valve_460 | Valve |  | Control_valve | 38 | [9 empty] | Control_valve_460_61
Aida | Brewery | Brewhouse | Water_supply | Mixed_water_distribution | Control_valve_470 | Valve |  | Control_valve | 39 | [9 empty] | Control_valve_470_62