## u0ni0-7sw2i
P&ID Node Instances in AIS Visualization
| Instance Hierarchy Data | [6 empty] | Visualization Data
| site | area | cell | unit | eModule | cModule | variable | id | node | isInstrument | shapeName | pidLabel | pidFunction | pidNumber
1 | Aida | Brewery | Brewhouse | Lauter_kettle | Water_injection | Control_valve_440 | Control_valve_440_8 |  |  |  | gate_valve_(diaphragm)
2 | Aida | Brewery | Brewhouse | Lauter_kettle | Water_injection | Pump_P40 | Pump_P40_9 |  |  |  | pump_(liquid) | P40
3 | Aida | Brewery | Brewhouse | Lauter_kettle | Vessel | Motor | Motor_11 |  |  |  | electric_motor
4 | Aida | Brewery | Brewhouse | Lauter_kettle | Vessel | Kettle_sensor_Z | Kettle_sensor_Z_12 |  |  | TRUE | discInst_(field) |  | ZS | 4000
5 | Aida | Brewery | Brewhouse | Lauter_kettle | Vessel | Kettle_sensor_T | Kettle_sensor_T_13 |  |  | TRUE | discInst_(field) |  | TE | 4000
6 | Aida | Brewery | Brewhouse | Mash_pan | Waste_gas_cooling | Control_valve_550 | Control_valve_550_17 |  |  |  | gate_valve_(diaphragm)
7 | Aida | Brewery | Brewhouse | Mash_pan | Waste_gas_cooling | Compressor | Compressor_18 |  |  |  | compressor,_vacuum_pump | C10
8 | Aida | Brewery | Brewhouse | Mash_pan | Vessel | Motor | Motor_20 |  |  |  | electric_motor
9 | Aida | Brewery | Brewhouse | Mash_pan | Vessel | Kettle_sensor_L | Kettle_sensor_L_21 |  |  | TRUE | discInst_(field) |  | LS | 1000
10 | Aida | Brewery | Brewhouse | Mash_pan | Vessel | Kettle_sensor_Z | Kettle_sensor_Z_22 |  |  | TRUE | discInst_(field) |  | ZS | 1000
11 | Aida | Brewery | Brewhouse | Mash_pan | Vessel | Kettle_sensor_T | Kettle_sensor_T_24 |  |  | TRUE | discInst_(field) |  | TE | 1000
12 | Aida | Brewery | Brewhouse | Mash_pan | Steam_heating | Control_valve_420 | Control_valve_420_26 |  |  |  | gate_valve_(diaphragm)
13 | Aida | Brewery | Brewhouse | Mash_pan | Steam_heating | Control_valve_410 | Control_valve_410_27 |  |  |  | gate_valve_(diaphragm)
14 | Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_160 | Control_valve_160_31 |  |  |  | gate_valve_(diaphragm)
15 | Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_170 | Control_valve_170_32 |  |  |  | gate_valve_(diaphragm)
16 | Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_150 | Control_valve_150_33 |  |  |  | gate_valve_(diaphragm)
17 | Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_220 | Control_valve_220_34 |  |  |  | gate_valve_(diaphragm)
18 | Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_360 | Control_valve_360_35 |  |  |  | gate_valve_(diaphragm)
19 | Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_320 | Control_valve_320_36 |  |  |  | gate_valve_(diaphragm)
20 | Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_130 | Control_valve_130_37 |  |  |  | gate_valve_(diaphragm)
21 | Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_140 | Control_valve_140_38 |  |  |  | gate_valve_(diaphragm)
22 | Aida | Brewery | Brewhouse | Pump_station | Outlet | Control_valve_120 | Control_valve_120_39 |  |  |  | gate_valve_(diaphragm)
23 | Aida | Brewery | Brewhouse | Pump_station | Outlet | Sensor_flow | Sensor_flow_40 |  |  |  | positive_displacement |  | FT | 3000
24 | Aida | Brewery | Brewhouse | Pump_station | Outlet | Valve_BELIMO | Valve_BELIMO_41 |  |  |  | gate_valve_(diaphragm)
25 | Aida | Brewery | Brewhouse | Pump_station | Inlet | Control_valve_110 | Control_valve_110_43 |  |  |  | gate_valve_(diaphragm)
26 | Aida | Brewery | Brewhouse | Pump_station | Inlet | Control_valve_020 | Control_valve_020_44 |  |  |  | gate_valve_(diaphragm)
27 | Aida | Brewery | Brewhouse | Pump_station | Inlet | Control_valve_040 | Control_valve_040_45 |  |  |  | gate_valve_(diaphragm)
28 | Aida | Brewery | Brewhouse | Pump_station | Inlet | Control_valve_030 | Control_valve_030_46 |  |  |  | gate_valve_(diaphragm)
29 | Aida | Brewery | Brewhouse | Pump_station | Inlet | Control_valve_010 | Control_valve_010_47 |  |  |  | gate_valve_(diaphragm)
30 | Aida | Brewery | Brewhouse | Pump_station | Inlet | Control_valve_580 | Control_valve_580_49 |  |  |  | gate_valve_(diaphragm)
31 | Aida | Brewery | Brewhouse | Pump_station | Inlet | Pump_P30 | Pump_P30_50 |  |  |  | pump_(liquid) | P30
32 | Aida | Brewery | Brewhouse | Water_supply | Cold_water_distribution | Control_valve_560 | Control_valve_560_53 |  |  |  | gate_valve_(diaphragm)
33 | Aida | Brewery | Brewhouse | Water_supply | Mixing_valve | Control_valve_310 | Control_valve_310_55 |  |  |  | gate_valve_(diaphragm)
34 | Aida | Brewery | Brewhouse | Water_supply | Mixing_valve | Three_way_tap | Three_way_tap_56 |  |  |  | three_way_valve |  | FV | 2000
35 | Aida | Brewery | Brewhouse | Water_supply | Mixing_valve | Sensor_flow | Sensor_flow_57 |  |  |  | positive_displacement |  | FT | 2000
36 | Aida | Brewery | Brewhouse | Water_supply | Mixed_water_distribution | Control_valve_340 | Control_valve_340_59 |  |  |  | gate_valve_(diaphragm)
37 | Aida | Brewery | Brewhouse | Water_supply | Mixed_water_distribution | Control_valve_350 | Control_valve_350_60 |  |  |  | gate_valve_(diaphragm)
38 | Aida | Brewery | Brewhouse | Water_supply | Mixed_water_distribution | Control_valve_460 | Control_valve_460_61 |  |  |  | gate_valve_(diaphragm)
39 | Aida | Brewery | Brewhouse | Water_supply | Mixed_water_distribution | Control_valve_470 | Control_valve_470_62 |  |  |  | gate_valve_(diaphragm)
40 | Aida | Brewery | Brewhouse | Mash_pan | Vessel | [5 empty] | pressurized_vessel
41 | Aida | Brewery | Brewhouse | Mash_pan | Vessel | [5 empty] | agitator_(propeller)
42 | Aida | Brewery | Brewhouse | Mash_pan | Vessel | [5 empty] | shell_and_tube_heat_exchanger_2
43 | Aida | Brewery | Brewhouse | Mash_pan | Waste_gas_cooling | [5 empty] | funnel
44 | Aida | Brewery | Brewhouse | Water_supply | Mixing_valve |  |  |  |  | TRUE | discInst_(field) |  | FT | 2000
45 | Aida | Brewery | Brewhouse | Lauter_kettle | Vessel | [5 empty] | tank_(conical_roof)
46 | Aida | Brewery | Brewhouse | Lauter_kettle | Vessel | [5 empty] | agitator_(turbine)
47 | Aida | Brewery | Brewhouse | Pump_station | Outlet |  |  |  |  | TRUE | discInst_(field) |  | FT | 3000
48 | Aida | Brewery | Brewhouse | Pump_station | Inlet | [5 empty] | funnel